## M.I Gen & lines-15-07-2020
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON 15-07-2020
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | UPCL: U1 | 13:23 (03.06.2020) |  | O/O - RSD
2 | BTPS: U3 | 13:15 (06.04.2020) |  | O/O - RSD
3 | RTPS: U8 | 07:56 (28.04.2020) |  | O/O - Generator Protection Operated
4 | YTPS: U1 | 12:08 (03.06.2020) |  | O/O - RSD
5 | RTPS: U7 | 07:34 (02.06.2020) |  | O/O - RSD
6 | BTPS: U1 | 13:45 (02.06.2020) |  | O/O - RSD
7 | BTPS: U2 | 16:31 (02.06.20200 |  | O/O - RSD
8 | RTPS: U4 | 06:46 (11.06.2020) |  | O/O - STEAM TURBINE LEAKAGE
9 | RTPS: U2 | 11:39 (19.05.2020) |  | O/O - RSD
10 | RTPS: U5 | 16:34 (10.06.2020) |  | O/O-RSD
11 | RTPS: U3 | 22:34 (26.06.2020) |  | O/O-Boiler tube leakage
12 | RTPS: U1 | 11:50 (02.07.2020) |  | O/O-RSD
13 | RTPS: U6 | 10:24 (06.07.2020) |  | O/O-RSD
14 | UPCL: U2 | 12:22 (12.07.2020) |  | O/O-RSD
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV B.Bageadi-G M Navar#2 | 17:05 (04.03.2020) |  | Tripped
2 | 400kV Hoody-Nelamangala/YLK | 18:18 (05.03.2020) |  | O/O on L/C | 3 Months
3 | 400kV Hoody-Nelamangala/YLK | 18:45 (05.03.2020) |  | O/O on L/C | 3 Months
4 | 220kV Shahpur-Gulbarga | 17:15 (17.04.2020) |  | Tripped
5 | 220kV Kudugi-G M Navar#3 | 07:04 (19.04.2020) |  | Tripped
6 | 220kV EDC-A'STATION | 14:52 (10.06.2020) |  | Tripped | CABLE FAULT
7 | 400kV BPS-Jagalur# 2 | 10:21 (11.07.2020) |  | O/O on O/V
8 | 400kV UPCL-Hassan#2 | 18:01 (13.07.2020) |  | O/O on O/V
9 | 220kV Sirsi-Hubli #2 | 23:51 (13.07.2020) |  | Tripped
10 | 400kV GTR-NAR#2 | 22:45 (14.07.2020) |  | O/O on O/V
11 | 220kV Sedam-Shahpur | 01:15 (15.07.2020) | 06:50 (15.07.2020) | O/O on O/V
12 | 220kV Sedam-Humnabad | 01:34 (15.07.2020) | 12:26 (15.07.2020) | O/O on O/V
13 | 220kV Peenya-NLMG | 07:20 (15.07.2020) | 08:48 (15.07.2020) | Tripped
14 | 220kV UPCL-Kemar #2 | 08:22 (15.07.2020) | 10:48 (15.07.2020) | O/O on L/C
15 | 220kV SMG-KBCross | 08:25 (15.07.2020) | 09:17 (15.07.2020) | Tripped
16 | ICT #1 at UPCL | 09:24 (15.07.2020) | 17:21 (15.07.2020) | O/O on L/C
17 | 220kV Lingapur-Halvarthy #1 | 09:38 (15.07.2020) | 15:30 (15.07.2020) | O/O on L/C
18 | 400kV Dhoni Bus #2 | 17:41 (15.07.2020) | 18:00 (15.07.2020) | O/O on L/C
19 | 220kV Lingsugur-Mallat | 22:35 (15.07.2020) | 22:55 (15.07.2020) | Tripped
20 | 220kV Kushtagi-Lingsugur | 23:50 (15.07.2020) |  | Tripped