## M.I Gen & lines-15-09-2020
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2020-09-15
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | BTPS: U3 | 13:15 (06.04.2020) |  | O/O - RSD
2 | RTPS: U8 | 07:56 (28.04.2020) |  | O/O - Generator Protection Operated
3 | RTPS: U7 | 07:34 (02.06.2020) |  | O/O - RSD
4 | BTPS: U1 | 13:45 (02.06.2020) |  | O/O - RSD LATER ON AOH
5 | BTPS: U2 | 16:31 (02.06.2020) |  | O/O - RSD
6 | RTPS: U4 | 06:46 (11.06.2020) |  | O/O - RSD LATER ON AOH
7 | RTPS: U2 | 11:39 (19.05.2020) |  | O/O - RSD
8 | RTPS: U5 | 16:34 (10.06.2020) |  | O/O-RSD
9 | RTPS: U3 | 22:34 (26.06.2020) |  | O/O-RSD
10 | RTPS: U1 | 11:50 (02.07.2020) |  | O/O-RSD
11 | RTPS: U6 | 10:24 (06.07.2020) |  | O/O-RSD
12 | YTPS: U2 | 11:56 (18.07.2020) |  | O/O-RSD Later on GT problem from(27.08)
13 | YTPS: U1 | 12:18 (10.09.2020) |  | O/O- RSD
14 | UPCL :U1 | 11:59 (12.09.2020) |  | O/O -RSD
15 | UPCL :U2 | 04:19 (14.09.2020) | 14:44 (15.09.2020) | O/O -RSD
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV B.Bageadi-G M Navar#2 | 17:05 (04.03.2020) |  | Tripped
2 | 400kV Hoody-Nelamangala/YLK | 18:18 (05.03.2020) |  | O/O on L/C | 3 Months
3 | 400kV Hoody-Nelamangala/YLK | 18:45 (05.03.2020) |  | O/O on L/C | 3 Months
4 | 400kV BPS-Jagalur#1 | 00:50 (18.08.2020) |  | O/O on O/V
5 | 220kV Kudugi-G M Navar#4 | 21:06 (28.08.2020) |  | Tripped
6 | 220kV Kudugi-G M Navar#3 | 19:02 (07.09.2020) |  | Tripped
7 | 400kV UPCL-Hassan #1 | 17:15 (12.09.2020) |  | O/O on O/V
8 | 400kV Nelamangala-Hiriyur#2 | 00:19 (13.09.2020) |  | O/O on O/V
9 | 220kV VPH-SMG#1 | 12:31 (14.09.2020) | 18:25 (15.09.2020) | Tripped
10 | 400kV BTPS-Hiriyur#2 | 22:30 (14.09.2020) |  | O/O on O/V
11 | 220kV SGS-SMG#2 | 09:30 (15.09.2020) | 12:56 (15.09.2020) | O/O on L/C
12 | 220kV M'hally-C R Nagar | 09:26 (15.09.2020) | 12:30 (15.09.2020) | O/O on L/C
13 | 220kV L'pra-JSW#2 | 10:16 (15.09.2020) | 14:10 (15.09.2020) | O/O on L/C
14 | 220kV Kemar-Varahi | 10:18 (15.09.2020) | 11:23 (15.09.2020) | O/O on L/C
15 | 220kV Narendra-Belgaum#2 | 10:28 (15.09.2020) | 13:30 (15.09.2020) | Tripped
16 | 220kV Ambewadi-Xeldom | 11:20 (15.09.2020) | 11:59 (15.09.2020) | Tripped
17 | 220kV L'pura-Guddadahally | 11:33 (15.09.2020) | 13:04 (15.09.2020) | Tripped
18 | 400kV NLM-TGP | 23:04 (15.09.2020) |  | O/O on O/V