## M.I Gen & lines-15-10-2020
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2020-10-15 |  |  | #REF! | #REF!
STATE GENERATOR OUTAGES | [5 empty] | #REF! | #REF!
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS |  | #REF! | #REF!
|  | FROM | TO |  |  | #REF! | #REF!
1 | RTPS: U8 | 07:56 (28.04.2020) |  | O/O - Generator Protection Operated |  | #REF! | #REF!
2 | RTPS: U7 | 07:34 (02.06.2020) |  | O/O - RSD |  | #REF! | #REF!
3 | BTPS: U2 | 16:31 (02.06.2020) |  | O/O - RSD |  | #REF! | #REF!
4 | RTPS: U4 | 06:46 (11.06.2020) |  | O/O - RSD |  | #REF! | #REF!
5 | RTPS: U2 | 11:39 (19.05.2020) |  | O/O - RSD |  | #REF! | #REF!
6 | RTPS: U5 | 16:34 (10.06.2020) |  | O/O-RSD |  | #REF! | #REF!
7 | RTPS: U3 | 22:34 (26.06.2020) |  | O/O-RSD |  | #REF! | #REF!
8 | RTPS: U6 | 10:24 (06.07.2020) |  | O/O-RSD |  | #REF! | #REF!
9 | YTPS: U2 | 11:56 (18.07.2020) |  | O/O-RSD Later on GT problem from(27.08.2020) |  | #REF! | #REF!
10 | RTPS: U1 | 16:34 ( 12.10.2020) |  | O/O- RSD |  | #REF! | #REF!
11 | BTPS: U3 | 13:15 ( 12.10.2020) |  | O/O- RSD |  | #REF! | #REF!
12 | UPCL: U2 | 23:58 ( 13.10.2020) |  | O/O- RSD |  | #REF! | #REF!
13 | UPCL: U1 | 10:42 ( 14.10.2020) |  | O/O- RSD |  | #REF! | #REF!
13 | BTPS: U1 | 00:35 (14.10.2020) |  | O/O - RSD |  | #REF! | #REF!
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS | #REF! | #REF!
|  | FROM | TO |  |  | #REF! | #REF!
1 | 220kV Bagalkote-Vajramatti#1&#2 | 13:54 (09.08.2019) |  | Tripped | No.319 Tower collapsed | #REF! | #REF!
2 | 220kV B.Bageadi-G M Navar#2 | 17:05 (04.03.2020) |  | Tripped |  | #REF! | #REF!
3 | 400kV Hoody-Nelamangala/YLK | 18:18 (05.03.2020) |  | O/O on L/C | 3 Months | #REF! | #REF!
4 | 400kV Hoody-Nelamangala/YLK | 18:45 (05.03.2020) |  | O/O on L/C | 3 Months | #REF! | #REF!
5 | 220kV Kudugi-G M Navar#4 | 21:06 (28.08.2020) |  | Tripped |  | #REF! | #REF!
6 | 400kV BPS-Jagalur#2 | 23:54 (26.09.2020) |  | O/O on O/V |  | #REF! | #REF!
7 | 400kv UPCL-HASSAN#2 | 01:14 (13.10.2020) |  | Tripped |  | #REF! | #REF!
8 | 220kV Kudugi-G M Navar#5 | 05:55 (14.10.2020) |  | Tripped |  | #REF! | #REF!
9 | 220KV HOODY-RAILWAY#1 | 14:15 (14.10.2020) | 12:30 (15.10.2020) | Tripped |  | #REF! | #REF!
10 | 220kV GTR-DVG#1 | 00:50 (15.10.2020) | 01:07 (15.10.2020) | Tripped |  | #REF! | #REF!
11 | 220kV B B wadi station | 03:39 (15.10.2020) | 04:06 (15.10.2020) | BUS DEAD |  | #REF! | #REF!
12 | 220kV SGS-TGP#2 | 03:54 (15.10.2020) | 11:13 (15.10.2020) | Tripped |  | #REF! | #REF!
13 | 220kV Kadkola-Begur#1 | 09:29 (15.10.2020) | 18:30 (15.10.2020) | O/O On L/C |  | #REF! | #REF!
14 | 315MVA ICT-1 @ RTPS | 09:47 (15.10.2020) |  | O/O On L/C |  | #REF! | #REF!
15 | 220kV BGM-Chokkodi#1 | 10:42 (15.10.2020) | 11:56 (15.10.2020) | O/O On L/C |  | #REF! | #REF!
16 | 220kV SGS-TGP#1 | 11:50 (15.10.2020) | 15:20 (15.10.2020) | O/O On L/C |  | #REF! | #REF!
17 | 400kV Kaiga-Guttur#2 | 20:39 (15.10.2020) |  | O/O on O/V |  | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!