## M.I Gen & lines-16-03-2021
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2021-03-16
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U8 | 07:56 (28.04.2020) |  | O/O - Generator Protection Operated
2 | YTPS: U2 | 02:08 (05.12.2020) |  | O/O G T FAULT
3 | BTPS: U1 | 11:06 (05.01.2021) |  | O/O EARTH FAULT
4 | BTPS: U3 | 10:30 (11.03.2021) | 05:30 (17.03.2021) | O/O BOILER TUBE LEAKAGE
5 | UPCL: U2 | 09:05 (12.03.2021) |  | O/O GAS LEAKAGE
6 | UPCL: U1 | 22:04 (09.03.2021) |  | O/O DUE TO HYDROGEN LEAKAGE IN GENERATOR
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV Kudugi-G M Navar#4 | 21:06 (28.08.2020) |  | Tripped
2 | 400KV-Kolar-S'hally | 16:15 (10.02.2021) |  | O/O on L/C
3 | 400kV NLM-Hassan | 16:26 (05.03.2021) |  | Tripped
4 | 400kV UPCL-Hassan #1 | 16:00 (14.03.2021) | 09:00 (16.03.2021) | Tripped on OV
5 | 400KV/220KV DONI-ICT - 2 | 14:48 (16.03.2021) | 17:56 (16.03.2021) | O/O on L/C
6 | 400KV-KAIGA - GUTTUR-1 | 10:20 (16.03.2021) | 17:44 (16.03.2021) | O/O on L/C
7 | 400KV-GUTTUR - JINDAL-1 | 13:09 (16.03.2021) | 18:47 (16.03.2021) | O/O on L/C
8 | 400KV/220KV BTPS-ICT - 1 | 06:19 (16.03.2021) |  | Tripped
9 | 220kV Lingapur-Jindal | 08:28 (16.03.2021) | 18:50 (16.03.2021) | O/O on L/C
10 | 220kV Kadur-D'pet | 10:07 (16.03.2021) | 17:10 (16.03.2021) | O/O on L/C
11 | 220kV Nittur-Arasikere | 10:55 (16.03.2021) | 16:48 (16.03.2021) | O/O on L/C
12 | 220kV Madhuvanahlly-C R Nagar | 11:09 (16.03.2021) | 15:33 (16.03.2021) | O/O on L/C
13 | 220kV Gadag-Doni#1 | 11:22 (16.03.2021) | 13:55 (16.03.2021) | O/O on L/C
14 | 220kV SGS-SMG#3&#4 | 11:46 (16.03.2021) | 15:08 (16.03.2021) | O/O on L/C
15 | 220kV Hoody-Malur | 13:38 (16.03.2021) | 14:22 (16.03.2021) | Tripped
16 | 220kV Honnali-Davanagere | 21:10 (16.03.2021) | 21:34 (16.03.2021) | Tripped
17 | 220kV Davanagere-Guttur#1 | 21:10 (16.03.2021) | 21:31 (16.03.2021) | Tripped
18
19
20
21
22
23
24
25
26
27
28
29