## M.I Gen & lines-16-04-2021
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2021-04-16
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | YTPS: U2 | 02:08 (05.12.2020) |  | O/O G T FAULT
2 | BTPS: U1 | 11:06 (05.01.2021) |  | O/O EARTH FAULT
3 | RTPS: U8 | 08:57 (15.04.2021) | 06:13 (17.04.2021) | O/O Y PHASE CVT FAULTY
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV Kudugi-G M Navar#4 | 21:06 (28.08.2020) |  | Tripped | WORK UNDER PROGRESS( RELAY REPLACEMENT)
2 | 400kV NLM-Hassan | 16:26 (05.03.2021) |  | Tripped | LOC- 795 ( INSULATOR FLASH OVER) WORK UNDER PROGRESS
3 | 220kV Savadatti-M L Pura | 16:33 (11.04.2021) |  | Tripped
4 | 220kV SGS-TGP#2 | 13:56 (15.04.2021) | 15:00 (16.04.2021) | Tripped
5 | 220kV NPH-Bidnal | 14:54 (15.04.2021) | 14:55 (16.04.2021) | Tripped
6 | 220kV Lingapur-Kushtagi | 15:31 (15.04.2021) | 14:44 (16.04.2021) | Tripped
7 | 400kV-Hoody - Devanahally-1 | 14:04 (16.04.2021) |  | O/O on L/C
8 | 220kV Lingasugur-RTPS#1 | 09:40 (16.04.2021) | 13:14 (16.04.2021) | O/O on L/C
9 | 220kV Kavoor-MSEZ#2 | 10:12 (16.04.2021) | 13:46 (16.04.2021) | O/O on L/C
10 | 400kV NLM-Hassan#1 | 10:51 (16.04.2021) | 16:52 (16.04.2021) | O/O on L/C
11 | 220kV SGS-TGP | 11:34 (16.04.2021) | 18:40 (16.04.2021) | Tripped
12 | 220kV Hubli-NPH#3 | 12:38 (16.04.2021) | 14:17 (16.04.2021) | O/O on L/C
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29