## M.I Gen & lines-17-04-2021
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2021-04-17
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | YTPS: U2 | 02:08 (05.12.2020) |  | O/O G T FAULT
2 | BTPS: U1 | 11:06 (05.01.2021) |  | O/O EARTH FAULT
3 | RTPS: U5 | 18:13 (17.01.2021) | 20:43 (17.01.2021) | O/O TRIPPED BET
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV Kudugi-G M Navar#4 | 21:06 (28.08.2020) |  | Tripped | WORK UNDER PROGRESS( RELAY REPLACEMENT)
2 | 400kV NLM-Hassan | 16:26 (05.03.2021) |  | Tripped | LOC- 795 ( INSULATOR FLASH OVER) WORK UNDER PROGRESS
3 | 220kV Savadatti-M L Pura | 16:33 (11.04.2021) |  | Tripped | TOWER WORK UNDER PROGRESS
4 | 400kV-Hoody - Devanahally-1 | 14:04 (16.04.2021) |  | O/O on L/C
5 | 220kV Guttur-Davangere #1 | 03:01 (17.04.2021) | 09:27 (17.04.2021) | Tripped
6 | 220kV Honnali-Davangere | 08:33 (17.04.2021) | 10:03 (17.04.2021) | Opened out
7 | 220kV Yerandanahally-Hosur | 10:40 (17.04.2021) | 19:40 (17.04.2021) | O/O on L/C
8 | 220kV Ambewadi-Xeldom | 12:05 (17.04.2021) | 13:31 (17.04.2021) | O/O on L/C
9 | 220kV Gadag-Bagalkote #1 | 11:55 (17.04.2021) | 18:28 (17.04.2021) | O/O on L/C
10 | 220kV Hubli-Narendra #2 | 12:06 (17.04.2021) | 16:41 (17.04.2021) | Tripped
11 | 220kV Bagakote-Vajramatti #1 | 12:21 (17.04.2021) | 18:24 (17.04.2021) | O/O on L/C
12 | 220kV Gadag-Bagalkote #2 | 12:37 (17.04.2021) |  | Tripped
13 | 220kV Lingapur-Halawarthy #2 | 13:00 (17.04.2021) | 14:32 (17.04.2021) | Tripped
14 | 220kV SGS-Talguppa #2 | 14:40 (17.04.2021) | 16:11 (17.04.2021) | O/O on L/C
15 | 220kV Kadur-Shimoga | 16:16 (17.04.2021) | 19:15 (17.04.2021) | Tripped
16 | 220kV Basavanbagewadi-Lingsugur #1 | 16:34 (17.04.2021) | 17:03 (17.04.2021) | Tripped
17
18
19
20
21
22
23
24
25
26
27
28
29