## M.I Gen & lines-17-07-2020
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON 17-07-2020
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | UPCL: U1 | 13:23 (03.06.2020) |  | O/O - RSD
2 | BTPS: U3 | 13:15 (06.04.2020) |  | O/O - RSD
3 | RTPS: U8 | 07:56 (28.04.2020) |  | O/O - Generator Protection Operated
4 | YTPS: U1 | 12:08 (03.06.2020) |  | O/O - RSD
5 | RTPS: U7 | 07:34 (02.06.2020) |  | O/O - RSD
6 | BTPS: U1 | 13:45 (02.06.2020) |  | O/O - RSD
7 | BTPS: U2 | 16:31 (02.06.20200 |  | O/O - RSD
8 | RTPS: U4 | 06:46 (11.06.2020) |  | O/O - STEAM TURBINE LEAKAGE
9 | RTPS: U2 | 11:39 (19.05.2020) |  | O/O - RSD
10 | RTPS: U5 | 16:34 (10.06.2020) |  | O/O-RSD
11 | RTPS: U3 | 22:34 (26.06.2020) |  | O/O-Boiler tube leakage
12 | RTPS: U1 | 11:50 (02.07.2020) |  | O/O-RSD
13 | RTPS: U6 | 10:24 (06.07.2020) |  | O/O-RSD
14 | UPCL: U2 | 12:22 (12.07.2020) |  | O/O-RSD
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV B.Bageadi-G M Navar#2 | 17:05 (04.03.2020) |  | Tripped |  | 220kV B.Bageadi-G M Navar#2 | 1705/04.03 |  | Tripped
2 | 400kV Hoody-Nelamangala/YLK | 18:18 (05.03.2020) |  | O/O on L/C | 3 Months | 400kV Hoody-Nelamangala/YLK | 1818/1845(05.03) |  | O/O on L/C | 3 Months
3 | 400kV Hoody-Nelamangala/YLK | 18:45 (05.03.2020) |  | O/O on L/C | 3 Months
4 | 220kV Shahpur-Gulbarga | 17:15 (17.04.2020) |  | Tripped |  | 220kV Shahpur-Gulbarga | 1715/17.04 |  | Tripped
5 | 220kV Kudugi-G M Navar#3 | 07:04 (19.04.2020) |  | Tripped |  | 220kV Kudugi-G M Navar#3 | 0704/19.04 |  | Tripped
6 | 400kV BPS-Jagalur# 2 | 10:21 (11.07.2020) |  | O/O on O/V |  | 400kV BPS-Jagalur# 2 | 1021/11.07 |  | O/O on O/V
7 | 220kV Sirsi-Hubli #2 | 23:51 (13.07.2020) |  | Tripped |  | 220kV Sirsi-Hubli #2 | 2351/13.07 |  | Tripped
8 | 400kV GTR-NAR#2 | 22:45 (14.07.2020) |  | O/O on O/V |  | 400kV GTR-NAR#2 | 2245/14.07 |  | O/O on O/V
9 | 400kV RTPS-BTPS | 05:07 (16.07.2020) | 13:18(17.07.2020) | Tripped |  | 400kV RTPS-BTPS | 0507/16.07 | 1318 | Tripped
10 | 220kV SGS-Sirsi#2 | 16:05 (16.07.2020) | 16:54:(17.07.2020) | Tripped |  | 220kV SGS-Sirsi#2 | 1605/16.07 | 1654 | Tripped
11 | 400kV NLM-Hiriyur#2 | 00:12 (17.07.2020) | 7:38(17.07.2020) | O/O on O/V |  | 400kV NLM-Hiriyur#2 | 0012 | 0738 | O/O on O/V
12 | 220kV STRP-TGP | 04:33 (17.07.2020) | 7:15(17.07.2020) | Tripped |  | 220kV STRP-TGP | 0433 | 0715 | Tripped
13 | 220kV Itagi-Neelgunda | 14:14 (17.07.2020) | 17:10(17.07.2020) | O/O on L/C |  | 220kV Itagi-Neelgunda | 1414 | 1710 | O/O on L/C
14 | 220kV Neelgunda-GTR | 10:41 (17.07.2020) | 11:03(17.07.2020) | Tripped |  | 220kV Neelgunda-GTR | 1041 | 1103 | Tripped
15 | 220kV Ambewadi-NRN#2 | 10:53 (17.07.2020) | 17:45(17.07.2020) | O/O on L/C |  | 220kV Ambewadi-NRN#2 | 1053 | 1745 | O/O on L/C
16 | 500MVA ICT-2 @ NLM | 12:28 (17.07.2020) | 16:28(17.07.2020) | O/O on L/C |  | 500MVA ICT-2 @ NLM | 1228 | 1628 | O/O on L/C
17 | 400kV UPCL-HSN#2 | 20:53 (17.07.2020) |  | O/O on O/V |  | 400kV UPCL-HSN#2 | 2053 |  | O/O on O/V
18 | 400kV NLM-TGP | 23:06 (11.07.2020) | 08:40(18.07.2020) | O/O on O/V |  | 400kV NLM-TGP | 2306 | 0840(18.07) | O/O on O/V