## M.I Gen & lines-18-02-2021
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2021-02-18
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U8 | 07:56 (28.04.2020) |  | O/O - Generator Protection Operated
2 | RTPS: U3 | 22:34 (26.06.2020) |  | O/O-RSD Later on Tripped On unit auxillary transformer(10.11.2020)
3 | YTPS: U2 | 02:08 (05.12.2020) |  | O/O G T FAULT
4 | BTPS: U1 | 11:06 (05.01.2021) |  | O/O EARTH FAULT
5 | UPCL: U1 | 21:38 (18.02.2021) |  | O/O RSD
6 | RTPS: U7 | 02:16 (08.02.2021) |  | O/O VIBRATION HIGH
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV Kudugi-G M Navar#4 | 21:06 (28.08.2020) |  | Tripped
2 | 400KV-Kolar-S'hally | 16:15 (10.02.2021) |  | O/O on L/C
3 | 220kV GTR-DVG#3 | 08:17 (17.02.2021) | 11:56 (18.02.2021) | O/o on LC
4 | 220kV M L Pura-Kudachi | 10:33 (17.02.2021) |  | O/o on LC
5 | 220kV M L Pura-Athani | 10:40 (17.02.2021) |  | O/o on LC
6 | 400KV-KAIGA - NARENDRA-2 | 10:38 (18.02.2021) | 16:30 (18.02.2021) | O/o on LC
7 | 400KV-KAIGA - GUTTUR-1 | 11:10 (18.02.2021) | 11:33 (18.02.2021) | O/o on LC
8 | 400KV/220KV GUTTUR-ICT - 1 | 11:10 (18.02.2021) | 11:32 (18.02.2021) | Bus bar operated
9 | 400KV/220KV GUTTUR-ICT - 2 | 11:10 (18.02.2021) | 11:52 (18.02.2021) | Bus bar operated
10 | 220kV Kadkola-Kpet | 03:48 (18.02.2021) | 11:25 (18.02.2021) | O/o on LC
11 | 220kV SMG-A'hally | 14:23 (18.02.2021) | 14:35 (18.02.2021) | Tripped
12 | 220kC GTPB-NRN#2 | 17:09 (18.02.2021) | 17:27 (18.02.2021) | Tripped
13 | 220kV GTR-DVG#2 | 22:44 (18.02.2021) |  | Tripped
14 | 220kV VPH-SMG#1 | 22:45 (18.02.2021) |  | Tripped
15
16
17
18
19
20
21
22