## M.I Gen & lines-18.05.2020
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON 18.05.2020
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | UPCL : U1 | 12:30 (30.04.2020) |  | O/O - RSD
2 | BTPS : U3 | 13:15 (06.04.2020) |  | O/O - RSD
3 | UPCL : U2 | 01:36 (07.05.2020) |  | O/O - RSD
4 | YTPS : U2 | 12:45 (08.11.2018) |  | O/o - Turbine High Vibration
5 | RTPS : U8 | 07:56 (28.04.2020) |  | O/O - Generator Protection Operated
6 | RTPS : U5 | 12:03 (18.05.2020) | 18:05 (18.05.2020) | O/O - RSD
7 | RTPS : U3 | 10:31 (18.05.2020) |  | O/O-RSD
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV B.Bageadi-G M Navar#2 | 17:05 (04.03.2020) |  | Tripped
2 | 400kV Hoody-Nelamangala/YLK | 18:18 (05.03.2020) |  | O/O on L/C | 3 Months
3 | 400kV Hoody-Nelamangala/YLK | 18:45 (05.03.2020) |  | O/O on L/C | 3 Months
4 | 220kV Sedam-Tandur | 07:10 (06.04.2020) |  | O/O on L/C
5 | 220kV Shahpur-Gulbarga | 17:15 (17.04.2020) |  | Tripped
6 | 220kV Shahbad-Gulbarga | 19:58 (18.04.2020) |  | Tripped
7 | 220kV Kudugi-G M Navar#3 | 07:04 (19.04.2020) |  | Tripped
8 | 220kV Gbidnoor-HRYR #2 | 15:40 (01.05.2020) |  | O/O on OV
9 | 220kV NLM-Mysore#2 | 18:01 (17.05.2020) |  | Tripped
10 | 220kV Kemar-Puttur#1 | 01:49 (18.05.2020) | 05:04 (18.05.2020) | Tripped
11 | 220kV SGS-SMG#1 | 18:17 (17.05.2020) | 10:07(18.05.2020) | Tripped
12 | 220kV Kemar-Bajpe#2 | 05:28 (18.05.20200 | 07:20 (18.05.2020) | Tripped
13 | 220kV Varahi-SMG#3 | 07:01 (18.05.2020) | 01:30 (19.05.20200 | Tripped
14 | 400kV NLM-TGP | 23:40 (17.05.2020) |  | Tripped
15 | 220kV K b cross-NLM | 07:12 (18.05.2020) | 12:00 (18.05.2020) | Tripped
16 | 220kV A'halli | 10:15 (18.05.2020) | 10:27 (18.05.2020) | Bus Dead
17 | 220kV TVR | 10:15 (18.05.2020) | 11:00 (18.05.2020) | Tripped
18 | 220kV B.Bagewadi | 17:25 (18.05.2020) | 17:36 (18.05.2020) | Tripped
19 | 220kV SGS-TGP | 11:07 (18.05.2020) | 15:28 (18.05.2020) | O/O on L/C
20 | 220kV hootagally-Vajamangala | 13:39 (18.05.2020) | 16:35 (18.05.2020) | O/O on L/C