## M.I Gen & lines-18-05-2021
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2021-05-18
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | YTPS: U2 | 02:08 (05.12.2020) |  | O/O G T FAULT
2 | BTPS: U1 | 11:06 (05.01.2021) |  | O/O EARTH FAULT
3 | UPCL: U1 | 13:23 (03.05.2021) |  | O/O RESERVED SHUTDOWN
4 | UPCL: U2 | 11:34 (08.05.2021) |  | O/O RESERVED SHUTDOWN
5 | RTPS: U2 | 20:41 (11.05.2021) |  | O/O RESERVED SHUTDOWN
6 | RTPS: U6 | 20:44 (11.05.2021) |  | O/O RESERVED SHUTDOWN
7 | RTPS: U3 | 23:15 (12.05.2021) |  | O/O RESERVED SHUTDOWN
8 | RTPS: U7 | 22:41 (12.05.2021) |  | O/O RESERVED SHUTDOWN
9 | BTPS: U2 | 12:28 (15.05.2021) |  | O/O RESERVED SHUTDOWN
10 | BTPS: U3 | 08:48 (15.05.2021) |  | O/O GENERTAOR EARTH FAULT LATER ON RSD
11 | RTPS: U4 | 12:17 (15.05.2021) |  | O/O RESERVED SHUTDOWN
12 | RTPS: U5 | 11:02 (15.05.2021) |  | O/O RESERVED SHUTDOWN
13 | YTPS: U1 | 11:09 (16.05.2021) | 14:12 (18.05.2021) | O/O RESERVED SHUTDOWN
14 | RTPS: U1 | 11:56 (16.05.2021) |  | O/O RESERVED SHUTDOWN
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV Kudugi-G M Navar#4 | 21:06 (28.08.2020) |  | Tripped | WORK UNDER PROGRESS( RELAY REPLACEMENT)
2 | 400kV NLM-Hassan | 16:26 (05.03.2021) |  | Tripped | LOC- 795 ( INSULATOR FLASH OVER) WORK UNDER PROGRESS
3 | 400kV NRN-GTR#2 | 18:02 (04.05.2021) |  | O/O on O/V
4 | 400kV Devanahalli-YNK | 08:35 (12.05.2021) |  | O/O on L/C
5 | 400kV RTPS-Mehaboobnagar | 02:55 (16.05.2021) |  | O/O on O/V
6 | 400kV BTPS-Hiriyur #2 | 23:04 (16.05.2021) |  | O/O on O/V
7 | 220kV Hoody-HAL #1 | 04:21 (18.05.2021) | 05:58 (18.05.2021) | Tripped
8 | 220kV UPCL-Kemar | 11:02 (18.05.2021) | 14:15 (18.05.2021) | O/O on L/C
9 | 500MVA ICT #2 at Doni | 11:15 (18.05.2021) | 16:06 (18.05.2021) | O/O on L/C
10 | 220kV Kemar-Varahi #1 | 13:11 (18.05.2021) | 18:04 (18.05.2021) | Tripped
11 | 220kV Kemar-Varahi #2 | 13:11 (18.05.2021) | 18:29 (18.05.2021) | Tripped
12 | 220kV Gowribidnur-PGCIL Hiriyur #1 | 17:53 (18.05.2021) |  | Tripped
13 | 220kV Hubli-Sirsi #1 | 20:47 (18.05.2021) |  | Tripped
14 | 220kV Varahi-Shimoga #1 | 13:36 (18.05.2021) | 18:20 (18.05.2021) | Tripped
15 | 220kV SGS-Talguppa #1 | 15:29 (18.05.2021) | 16:50 (18.05.2021) | O/O on LC
16
17
18
19
20
21
22
23
24
25
26
27
28
29