## M.I Gen & lines-19-01-2021
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2021-01-19
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U8 | 07:56 (28.04.2020) |  | O/O - Generator Protection Operated
2 | RTPS: U3 | 22:34 (26.06.2020) |  | O/O-RSD Later on Tripped On unit auxillary transformer(10.11.2020)
3 | YTPS: U2 | 02:08 (05.12.2020) |  | O/O G T FAULT
4 | RTPS: U7 | 22:47 (08.12.2020) |  | O/O-RSD later on AOH from( 22.12.2020)
6 | UPCL: U1 | 00:55 (02.01.2021) |  | O/O VIBRATION IN TURBINE
7 | BTPS: U1 | 11:06 (05.01.2021) |  | O/O EARTH FAULT
8 | UPCL: U2 | 22:56 (07.01.2021) |  | O/O- RSD
9 | RTPS: U1 | 20:47 (08.01.2021) |  | O/O BOILER SIDE PROBLEM LATER ON RSD
10 | RTPS: U6 | 17:30 (06.01.2021) |  | O/O BOILER TUBE LEAKAGE
11 | RTPS: U5 | 12:37 (12.01.2021) |  | O/O RSD
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV Kudugi-G M Navar#4 | 21:06 (28.08.2020) |  | Tripped
2 | 220kV Sedam-Shahpur | 04:45 (14.01.2021) | 10:20 (19.01.2021) | Tripped
3 | 400KkV UPCL-Hassan#1 | 20:49 (05.01.2021) | 10:17 (19.01.2021) | O/O on O/V
4 | 220kV A'hally-SMG | 22:42 (18.01.2021) | 13:15 (19.01.2021) | Tripped
5 | 220KV-AMBEWADI - XELDEM-1 | 13:46 (19.01.2021) |  | Tripped
6 | 400KV/220KV GUTTUR-ICT - 2 | 12:23 (19.01.2021) | 15:50 (19.01.2021) | O/O on L/C
7 | 400KV-UPCL - HASSAN-2 | 21:45 (19.01.2021) |  | O/O on O/V
8 | 220kV Kudachi-Athani | 09:05 (19.01.2021) | 10:10 (19.01.2021) | O/O on L/C
9 | 220kV STRP-SMG | 10:16 (19.01.2021) | 15:18 (19.01.2021) | O/O on L/C
10 | 220kV DabaspetKadur | 10:12 (19.01.2021) | 17:15 (19.01.2021) | O/O on L/C
11 | 220kV Hubli-Naghjhari#3 | 10:45 (19.01.2021) | 16:31 (19.01.2021) | O/O on L/C
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29