## M.I Gen & lines-19-03-2021
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2021-03-19
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U8 | 07:56 (28.04.2020) |  | O/O - Generator Protection Operated
2 | YTPS: U2 | 02:08 (05.12.2020) |  | O/O G T FAULT
3 | BTPS: U1 | 11:06 (05.01.2021) |  | O/O EARTH FAULT
4 | BTPS: U3 | 16:03 (17.03.2021) |  | O/O BOILER TUBE LEAKAGE
5 | UPCL: U2 | 09:05 (12.03.2021) |  | O/O GAS LEAKAGE
6 | UPCL: U1 | 22:04 (09.03.2021) |  | O/O DUE TO HYDROGEN LEAKAGE IN GENERATOR
7 | RTPS: U5 | 09:29 (18.03.2021) |  | O/O BOILER TUBE LEAKAGE
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV Kudugi-G M Navar#4 | 21:06 (28.08.2020) |  | Tripped
2 | 400KV-Kolar-S'hally | 16:15 (10.02.2021) |  | O/O on L/C
3 | 400kV NLM-Hassan | 16:26 (05.03.2021) |  | Tripped
4 | 400KV/220KV BTPS-ICT - 1 | 06:19 (16.03.2021) |  | Tripped
5 | 220kV Kadur-Dabaspet | 08:15 (18.03.2021) | 11:15 (19.03.2021) | O/O on L/C
6 | 400KV-NELAMANGALA - TALGUPPA-1 | 10:50 (19.03.2021) |  | O/O on L/C
7 | 400KV-KOLAR_AC - HOODY-2 | 15:36 (19.03.2021) | 17:59 (19.03.2021) | O/O on L/C
8 | 220kV Chitradurga-Thalak | 10:36 (19.03.2021) | 11:21 (19.03.2021) | Tripped
9 | 220kV Hootagally-Mysore#2 | 11:55 (19.03.2021) | 12:15 (19.03.2021) | O/O on L/C
10 | 220kV Hootagally-Vajamangala | 12:43 (19.03.2021) | 12:55 (19.03.2021) | O/O on L/C
11 | 400kV Hoody-Kolar#2 | 15:36 (19.03.2021) | 17:59 (19.03.2021) | O/O on L/C
12 | 220kV NRN-Hubli#2 | 23:21 (19.03.2021) | 01:11 (20.03.2021) | O/O on L/C
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29