## M.I Gen & lines-19.05.2020
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON 19.05.2020
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | UPCL : U1 | 12:30 (30.04.2020) |  | O/O - RSD
2 | BTPS : U3 | 13:15 (06.04.2020) |  | O/O - RSD
3 | UPCL : U2 | 01:36 (07.05.2020) |  | O/O - RSD
4 | YTPS : U2 | 12:45 (08.11.2018) |  | O/o - Turbine High Vibration
5 | RTPS : U8 | 07:56 (28.04.2020) |  | O/O - Generator Protection Operated
6 | RTPS : U8 | 10:31 (18.05.2020) |  | O/O - RSD
7 | RTPS:U5 | 12:03 (18.05.2020) |  | O/O - RSD
8 | BTPS:U1 | 11:18 (19.05.2020) |  | O/O - RSD
9 | BTPS:U2 | 13:02 (19.05.2020) |  | O/O - RSD
10 | RTPS:U2 | 11:39 (19.05.2020) |  | O/O - RSD
11 | RTPS:U4 | 09:20 (19.05.2020) |  | O/O - RSD
12 | RTPS:U7 | 09:20 (19.05.2020) |  | O/O - RSD
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV B.Bageadi-G M Navar#2 | 17:05 (04.03.2020) |  | Tripped
2 | 400kV Hoody-Nelamangala/YLK | 18:18 (05.03.2020) |  | O/O on L/C | 3 Months
3 | 400kV Hoody-Nelamangala/YLK | 18:45 (05.03.2020) |  | O/O on L/C | 3 Months
4 | 220kV Sedam-Tandur | 07:10 (06.04.2020) |  | O/O on L/C
5 | 220kV Shahpur-Gulbarga | 17:15 (17.04.2020) |  | Tripped
6 | 220kV Shahbad-Gulbarga | 19:58 (18.04.2020) |  | Tripped
7 | 220kV Kudugi-G M Navar#3 | 07:04 (19.04.2020) |  | Tripped
8 | 220kV Gbidnoor-HRYR #2 | 15:40 (01.05.2020) |  | O/O on OV
9 | 400kV NLM-Mysore#2 | 18:01 (17.05.2020) | 11:05 (19.05.2020) | Tripped
10 | 400kV NLM-TGP | 23:40 (17.05.2020) | 18:43 (19.05.2020) | Tripped
11 | 220kV SMG-VPH#2 | 09:03 (19.05.2020) | 14:49 (19.05.2020) | O/O on L/C
12 | 220kV Kadkola-Bastipura#2 | 09:50 (19.05.2020) | 12:18 (19.05.2020) | O/O on L/C
13 | 400kV NLM-HYR | 11:49 (19.05.2020) | 19:02 (19.05.2020) | O/O on L/C
14 | 400kV NLM-Hassan | 14:00 (19.05.2020) | 18:02 (19.05.2020) | O/O on L/C
15 | 220kV Kadkola-C R Nagar#1 | 12:20 (19.05.2020) | 14:03 (19.05.2020) | O/O on L/C
16 | 220kV VPH-SMG#2 | 14:07 (19.05.2020) | 18:33 (19.05.2020) | Tripped
17 | 220kV Doni-Halvarthy#2 | 15:42 (19.05.2020) | 17:40 (19.05.2020) | Tripped
18 | 500MVA IVT-3 @NLM | 16:21 (19.05.2020) | 16:44 (19.05.2020) | O/O on L/C