## M.I Gen & lines-19-08-2020
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON 19-08-2020
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | BTPS: U3 | 13:15 (06.04.2020) |  | O/O - RSD
2 | RTPS: U8 | 07:56 (28.04.2020) |  | O/O - Generator Protection Operated
3 | YTPS: U1 | 12:08 (03.06.2020) |  | O/O - RSD
4 | RTPS: U7 | 07:34 (02.06.2020) |  | O/O - RSD
5 | BTPS: U1 | 13:45 (02.06.2020) |  | O/O - RSD
6 | BTPS: U2 | 16:31 (02.06.2020) |  | O/O - RSD
7 | RTPS: U4 | 06:46 (11.06.2020) |  | O/O - STEAM TURBINE LEAKAGE
8 | RTPS: U2 | 11:39 (19.05.2020) |  | O/O - RSD
9 | RTPS: U5 | 16:34 (10.06.2020) |  | O/O-RSD
10 | RTPS: U3 | 22:34 (26.06.2020) |  | O/O-Boiler tube leakage
11 | RTPS: U1 | 11:50 (02.07.2020) |  | O/O-RSD
12 | RTPS: U6 | 10:24 (06.07.2020) |  | O/O-RSD
14 | YTPS: U2 | 11:56 (18.07.2020) |  | O/O-RSD
15 | UPCL: U2 | 01:10 (04.08.2020) |  | O/O-RSD
16 | UPCL: U1 | 11:59 (03.08.2020) |  | O/O TO ACCOMMODATE RE POWER
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV B.Bageadi-G M Navar#2 | 17:05 (04.03.2020) |  | Tripped
2 | 400kV Hoody-Nelamangala/YLK | 18:18 (05.03.2020) |  | O/O on L/C | 3 Months
3 | 400kV Hoody-Nelamangala/YLK | 18:45 (05.03.2020) |  | O/O on L/C | 3 Months
4 | 220kV Shahpur-Gulbarga | 17:15 (17.04.2020) |  | Tripped
5 | 220kV Kudugi-G M Navar#3 | 07:04 (19.04.2020) |  | Tripped
6 | 400kV Guutur-Narendra #2 | 00:15 (25.07.2020) |  | O/O on O/V
7 | 400kV UPCL-Hassan #1&2 | 21:56 (06.08.2020) |  | o/o on ov
8 | 400kV DONI -GUDADHALLY | 03:13 (17.08.2020) | 09:18 (19.08.2020) | Tripped
9 | 220kV Ambewadi-NPH #2 | 11:09 (17.08.2020) | 11:30 (19.08.2020) | O/O on L/C
10 | 400kV BTPS-Hiriyur#1 | 00:32 (18.08.2020) | 09:29 (19.08.2020) | O/O on O/V
11 | 400kV BPS-Jagalur#1 | 00:50 (18.08.2020) |  | O/O on O/V
12 | 400KV-TALGUPPA - HASSAN-1 | 10:34 (19.08.2020) | 16:42 (19.08.2020) | O/O on O/V
13 | 400kV RTPS-BTPS#1 | 15:40 (19.08.2020) | 17:12 (19.08.2020) | O/O on L/C
14 | 220KV-JURALA - RAICHUR#1 &#2 | 06:42 (19.08.2020) |  | O/O on L/C
15 | 220kV Sedam-Tandur | 04:50 (19.08.2020) | 05:32 (19.08.2020) | Tripped
16 | 220kV Narendra-Bidnal | 15:18 (19.08.2020) | 16:46 (19.08.2020) | O/O on L/C
17 | 220kV Ambewadi-NRN#1&#2 | 10:04 (19.08.2020) | 12:35 (19.08.2020) | O/O on L/C
18 | 220kV Bidnal-Harthi#1 | 13:17 (19.08.2020) | 14:56 (19.08.2020) | O/O on L/C