## M.I Gen & lines-20-11-2020
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2020-11-20
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U8 | 07:56 (28.04.2020) |  | O/O - Generator Protection Operated
2 | RTPS: U7 | 07:34 (02.06.2020) |  | O/O - RSD
3 | RTPS: U2 | 11:39 (19.05.2020) |  | O/O - RSD
4 | RTPS: U3 | 22:34 (26.06.2020) |  | O/O-RSD Later on Tripped On unit auxillary transformer(10.11.2020)
6 | RTPS: U6 | 10:24 (06.07.2020) |  | O/O-RSD later on AOH from( 02.11.2020)
7 | YTPS: U2 | 11:56 (18.07.2020) |  | O/O-RSD Later on GT problem from(27.08.2020)
8 | BTPS: U3 | 13:15 ( 12.10.2020) |  | O/O- RSD
9 | UPCL: U1 | 20:55 ( 07.11.2020) |  | O/O- RSD
10 | UPCL: U2 | 00:09 (08.11.2020) |  | O/O- RSD
11 | RTPS: U4 | 20:12 (10.11.2020) |  | O/O - G T PROBLEM
12 | RTPS: U5 | 04:10 (14.11.2020) |  | O/O - Flame Failure
13 | RTPS: U1 | 10:48 (14.11.2020) |  | O/O - RSD
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 400kV Hoody-Nelamangala/YLK | 18:18 (05.03.2020) |  | O/O on L/C
2 | 400kV Hoody-Nelamangala/YLK | 18:45 (05.03.2020) |  | O/O on L/C
3 | 220kV Kudugi-G M Navar#4 | 21:06 (28.08.2020) | 09:46 (20.11.2020) | Tripped
4 | 400kV BPS-Jagalur#2 | 23:54 (26.09.2020) |  | O/O on O/V
5 | 400kV Kaiga-Guttur #2 | 19:08 (29.10.2020) |  | Tripped
6 | 400kV UPCL-Hasaan#1 | 17:39 (14.11.2020) |  | O/O on O/V
7 | 400KV-NARENDRA - GUTTUR-2 | 23:57 (18.11.2020) | 08:51 (20.11.2020) | O/O on O/V
8 | 220kV Lingapur-BTPS | 14:55(19.11.2020) | 15:15 (20.11.2020) | Tripped
9 | 220kV Sedam-Tandur | 23:30(19.11.2020) | 13:13 (20.11.2020) | Tripped
10 | 220kV Vajamangala- T Khally | 01:50(20.11.2020) | 06:11(20.11.2020) | Tripped
11 | 220kV Haveri-Guttur#2 | 10:02(20.11.2020) | 13:30(20.11.2020) | O/O on L/C
12 | 220kV Kavoor-MSEZ#1 | 10:02(20.11.2020) | 11:33(20.11.2020) | O/O on L/C
13 | 220kV Varahi-Kemar#2 | 10:45(20.11.2020) | 13:09(20.11.2020) | O/O on L/C
14 | 220kV Lingapur-Halvarthy | 13:14(20.11.2020) | 17:23(20.11.2020) | O/O on L/C
16 | 220kV Hassan-Shimoga | 13:27(20.11.2020) | 13:54(20.11.2020) | Tripped
17 | ICT--1 @ Nelamangala | 16:04(20.11.2020) | 16:35(20.11.2020) | O/O on L/C
18 | 220kV HSR-N'Pura | 17:09(20.11.2020) | 18:20(20.11.2020) | Tripped
20
21
22
23
24
25
26
27
28
29
30
31