## M.I Gen & lines-21.05.2020
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON 21.05.2020
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | UPCL : U1 | 12:30 (30.04.2020) |  | O/O - RSD
2 | BTPS : U3 | 13:15 (06.04.2020) |  | O/O - RSD
3 | UPCL : U2 | 01:36 (07.05.2020) |  | O/O - RSD
4 | YTPS : U2 | 12:45 (08.11.2018) |  | O/o - Turbine High Vibration
5 | RTPS : U8 | 07:56 (28.04.2020) |  | O/O - Generator Protection Operated
6 | RTPS : U3 | 10:31 (18.05.2020) |  | O/O - RSD
7 | RTPS:U5 | 12:03 (18.05.2020) |  | O/O - RSD
8 | BTPS:U1 | 11:18 (19.05.2020) |  | O/O - RSD
9 | BTPS:U2 | 13:02 (19.05.2020) |  | O/O - RSD
10 | RTPS:U2 | 11:39 (19.05.2020) |  | O/O - RSD
11 | RTPS:U4 | 09:20 (19.05.2020) |  | O/O - RSD
12 | RTPS:U7 | 09:20 (19.05.2020) |  | O/O - RSD
13 | YTPS : U1 | 08:35 (21.05.2020) | 13:06 (21.05.2020) | Tripped
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV B.Bageadi-G M Navar#2 | 17:05 (04.03.2020) |  | Tripped
2 | 400kV Hoody-Nelamangala/YLK | 18:18 (05.03.2020) |  | O/O on L/C | 3 Months
3 | 400kV Hoody-Nelamangala/YLK | 18:45 (05.03.2020) |  | O/O on L/C | 3 Months
4 | 220kV Sedam-Tandur | 07:10 (06.04.2020) |  | O/O on L/C
5 | 220kV Shahpur-Gulbarga | 17:15 (17.04.2020) |  | Tripped
6 | 220kV Shahbad-Gulbarga | 19:58 (18.04.2020) |  | Tripped
7 | 220kV Kudugi-G M Navar#3 | 07:04 (19.04.2020) |  | Tripped
8 | 220kV Gbidnoor-HRYR #2 | 15:40 (01.05.2020) |  | O/O on OV
9 | 400kV NLM-HYR#2 | 02:29 (21.05.2020) | 07:09 (21.05.2020) | Tripped
10 | 220kV Lingapura--BTPS | 09:38 (21.05.2020) | 14:00 (21.05.2020) | O/O on L/C
11 | 220kV VarahiSMG | 09:54 (21.05.2020) | 11:25 (21.05.2020) | O/O on L/C
12 | 220kV Haveri-GTR | 09:38 (21.05.2020) | 13:32 (21.05.2020) | O/O on L/C
13 | 400kV UPCL ICT-2 | 12:35 (21.05.2020) | 17:10 (21.05.2020) | O/O on L/C
14 | 220kV Madhugiri-HYR | 13:43 (21.05.2020) | 16:53 (21.05.2020) | O/O on L/C
15 | 220kV SMG-Kadur | 14:04 (21.05.2020) | 15:25 (21.05.2020) | Tripped
16 | 400kV UPCL-Hassan#2 | 17:14 (21.05.2020) |  | O/O on O/V