## M.I Gen & lines-21-09-2020
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2020-09-21
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | BTPS: U3 | 13:15 (06.04.2020) |  | O/O - RSD
2 | RTPS: U8 | 07:56 (28.04.2020) |  | O/O - Generator Protection Operated
3 | RTPS: U7 | 07:34 (02.06.2020) |  | O/O - RSD
4 | BTPS: U1 | 13:45 (02.06.2020) |  | O/O - RSD
5 | BTPS: U2 | 16:31 (02.06.2020) |  | O/O - RSD
6 | RTPS: U4 | 06:46 (11.06.2020) |  | O/O - RSD LATER ON AOH
7 | RTPS: U2 | 11:39 (19.05.2020) |  | O/O - RSD
8 | RTPS: U5 | 16:34 (10.06.2020) |  | O/O-RSD
9 | RTPS: U3 | 22:34 (26.06.2020) |  | O/O-RSD
10 | RTPS: U1 | 11:50 (02.07.2020) |  | O/O-RSD
11 | RTPS: U6 | 10:24 (06.07.2020) |  | O/O-RSD
12 | YTPS: U2 | 11:56 (18.07.2020) |  | O/O-RSD Later on GT problem from(27.08)
13 | YTPS: U1 | 12:18 (10.09.2020) |  | O/O- RSD
14 | UPCL :U1 | 11:59 (12.09.2020) |  | O/O -RSD
15 | UPCL :U2 | 17:32 (20.09.2020) |  | O/O -RSD
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV B.Bageadi-G M Navar#2 | 17:05 (04.03.2020) |  | Tripped
2 | 400kV Hoody-Nelamangala/YLK | 18:18 (05.03.2020) |  | O/O on L/C | 3 Months
3 | 400kV Hoody-Nelamangala/YLK | 18:45 (05.03.2020) |  | O/O on L/C | 3 Months
4 | 400kV BPS-Jagalur#1 | 00:50 (18.08.2020) |  | O/O on O/V
5 | 220kV Kudugi-G M Navar#4 | 21:06 (28.08.2020) |  | Tripped
6 | 220kV Kudugi-G M Navar#3 | 19:02 (09.09.2020) |  | Tripped
7 | 400kV UPCL-Hassan #1 | 17:15 (12.09.2020) |  | O/O on O/V
8 | 400kV BTPS-Hiriyur#2 | 22:30 (14.09.2020) |  | O/O on O/V
9 | 220kV Tubinkere-Kotipura #1 | 10:30 (19.09.2020) |  | O/O on L/C
10 | 220kv NRN-Belgaum #1 | 21:26 (20.09.2020) |  | o/o/ on VR
11 | 400kv UPCL-Hassan # 2 | 20:15 (20.09.2020) |  | o/o on ov
12 | 220kv Nar-A'wadi # 2 | 21:21 (20.09.2020) |  | o/o for VR
13 | 220kV SGS-S'koppa | 00:03 (21.09.2020) | 11:54 (21.09.2020) | Tripped
14 | 220kV Varahi-Shimoga 2 | 02:17 (21.09.2020) | 09:42 (21.09.2020) | Tripped
15 | 220kV A.wadi-NPH 2 | 02:23 (21.09.2020) |  | Tripped
16 | 220kV Itagi-Neelagunda | 10:45 (21.09.2020) | 16:30 (21.09.2020) | Tripped
17 | 220kV Madhugiri-Hiriyur | 16:33 (21.09.2020) | 19:13 (21.09.2020) | O/o on LC
18 | 220kV S'halli-Bidadi 1 | 12:49 (21.09.2020) | 17:30 (21.09.2020) | Tripped
19 | 220kV S'halli-Bidadi 2 | 12:49 (21.09.2020) | 16:51 (21.09.2020) | Tripped
20 | 220kV Guttur-Neelagunda | 10:42 (21.09.2020) |  | Tripped