## M.I Gen & lines-21-10-2020
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2020-10-21 |  |  | #REF! | #REF!
STATE GENERATOR OUTAGES | [5 empty] | #REF! | #REF!
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS |  | #REF! | #REF!
|  | FROM | TO |  |  | #REF! | #REF!
1 | RTPS: U8 | 07:56 (28.04.2020) |  | O/O - Generator Protection Operated |  | #REF! | #REF!
2 | RTPS: U7 | 07:34 (02.06.2020) |  | O/O - RSD |  | #REF! | #REF!
3 | BTPS: U2 | 16:31 (02.06.2020) |  | O/O - RSD |  | #REF! | #REF!
4 | RTPS: U4 | 06:46 (11.06.2020) |  | O/O - RSD |  | #REF! | #REF!
5 | RTPS: U2 | 11:39 (19.05.2020) |  | O/O - RSD |  | #REF! | #REF!
6 | RTPS: U5 | 16:34 (10.06.2020) |  | O/O-RSD |  | #REF! | #REF!
7 | RTPS: U3 | 22:34 (26.06.2020) |  | O/O-RSD |  | #REF! | #REF!
8 | RTPS: U6 | 10:24 (06.07.2020) |  | O/O-RSD |  | #REF! | #REF!
9 | YTPS: U2 | 11:56 (18.07.2020) |  | O/O-RSD Later on GT problem from(27.08.2020) |  | #REF! | #REF!
10 | RTPS: U1 | 16:34 ( 12.10.2020) |  | O/O- RSD |  | #REF! | #REF!
11 | BTPS: U3 | 13:15 ( 12.10.2020) |  | O/O- RSD |  | #REF! | #REF!
12 | UPCL: U1 | 10:42 ( 14.10.2020) | 14:16 ( 21.10.2020) | O/O- RSD |  | #REF! | #REF!
13 | BTPS: U1 | 00:35 (14.10.2020) |  | O/O - RSD |  | #REF! | #REF!
14 | UPCL: U1 | 14:51(21.10.2020) | 18:14(21.10.2020) | O/O- NO CURRENT INDICATION |  | #REF! | #REF!
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS | #REF! | #REF!
|  | FROM | TO |  |  | #REF! | #REF!
1 | 220kV Bagalkote-Vajramatti#1&#2 | 13:54 (09.08.2019) |  | Tripped | No.319 Tower collapsed | #REF! | #REF!
2 | 400kV Hoody-Nelamangala/YLK | 18:18 (05.03.2020) |  | O/O on L/C | 3 Months | #REF! | #REF!
3 | 400kV Hoody-Nelamangala/YLK | 18:45 (05.03.2020) |  | O/O on L/C | 3 Months | #REF! | #REF!
4 | 220kV Kudugi-G M Navar#4 | 21:06 (28.08.2020) |  | Tripped |  | #REF! | #REF!
5 | 400kV BPS-Jagalur#2 | 23:54 (26.09.2020) |  | O/O on O/V |  | #REF! | #REF!
6 | 400kV Kaiga-Guttur#2 | 20:39 (15.10.2020) |  | O/O on O/V |  | #REF! | #REF!
7 | 400kV UPCL-Hassan#1 | 21:54 (18.10.2020) | 14:58 (21.10.2020) | O/O on O/V |  | #REF! | #REF!
8 | 315MVA ICT-3 @ RTPS | 09:30 (20.10.2020) |  | O/O on L/C |  | #REF! | #REF!
9 | 220kV Bidnal-Hubli#1 | 16:32 (20.10.2020) | 12:33 (21.10.2020) | Tripped |  | #REF! | #REF!
10 | 220kV Doni-Gadag#1 | 19:48 (20.10.2020) |  | Tripped |  | #REF! | #REF!
11 | 400kV GTR-NRN#2 | 21:42 (20.10.2020) |  | Tripped on O/V |  | #REF! | #REF!
12 | 400kV NLM-Hiriyur#2 | 00:30 (21.10.2020) | 07:14 (21.10.2020) | O/O on O/V |  | #REF! | #REF!
13 | 220kV SMG-VPH#2 | 00:44 (21.10.2020) | 22:51 (21.10.2020) | Tripped |  | #REF! | #REF!
14 | 220kV Sedam-RTPS#2 | 06:00 (21.10.2020) | 06:11 (21.10.2020) | Tripped |  | #REF! | #REF!
15 | 400kV RTPS-Mehaboobnagar | 06:12 (21.10.2020) | 08:33 (21.10.2020) | Tripped |  | #REF! | #REF!
16 | 400kV GTR-JSW | 10:25 (21.10.2020) | 17:50 (21.10.2020) | O/O on L/C |  | #REF! | #REF!
17 | 220kV Kadra-Karwar#2 | 12:50 (21.10.2020) | 18:15 (21.10.2020) | Tripped |  | #REF! | #REF!
18 | ICT-1 @ RTPS | 15:09 (21.10.2020) | 18:20 (21.10.2020) | Tripped |  | #REF! | #REF!
19 | 220kV Ambewadi-NRN#1&#2 | 20:48 (21.10.2020) | 21:02 (21.10.2020) | O/O on L/C |  | #REF! | #REF!
20 | 220kV SMG-VPH#2 | 23:46 (21.10.2020) |  | Tripped |  | #REF! | #REF!
21 | [5 empty] | #REF! | #REF!
22 | [5 empty] | #REF! | #REF!
23 | [5 empty] | #REF! | #REF!
24 | [5 empty] | #REF! | #REF!
25 | [5 empty] | #REF! | #REF!
26 | [5 empty] | #REF! | #REF!
27 | [5 empty] | #REF! | #REF!
28 | [5 empty] | #REF! | #REF!
29 | [5 empty] | #REF! | #REF!
30 | [5 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!