## M.I Gen & lines-22-02-2021
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2021-02-22
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U8 | 07:56 (28.04.2020) |  | O/O - Generator Protection Operated
2 | YTPS: U2 | 02:08 (05.12.2020) |  | O/O G T FAULT
3 | BTPS: U1 | 11:06 (05.01.2021) |  | O/O EARTH FAULT
4 | UPCL: U1 | 21:38 (18.02.2021) |  | O/O RSD
5 | UPCL: U2 | 19:19 (19.02.2021) |  | O/O RSD
6 | RTPS: U5 | 20:52 (20.02.2021) |  | O/O RSD
7 | YPTS:U1 | 05:23 (21.02.2021) |  | O/O BOILER TUBE LEAKAGE
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV Kudugi-G M Navar#4 | 21:06 (28.08.2020) |  | Tripped
2 | 400KV-Kolar-S'hally | 16:15 (10.02.2021) |  | O/O on L/C
3 | 220kV Lingasugur-Mallath | 17:40 (19.02.2021) |  | Tripped
4 | 500MVA ICT-2 @ S'hally | 11:17 (20.02.2021) |  | O/o on LC
5 | 400kV GTR-NRN#2 | 22:33 (20.02.2021) | 07:05 (22.02.2021) | o/o on O/V
6 | 220kV Ambewadi-NRN#2 | 00:14 (21.02.2021) |  | Tripped
7 | 220kV M L Pura-Vajramatti#2 | 22:23 (21.02.2021) | 13:52 (22.02.2021) | Tripped
8 | 220kV SGS-S'koppa | 00:33 (22.02.2021) | 10:35 (22.02.2021) | Tripped
9 | 220kV Lingasugur-RTPS#2 | 00:50 (22.02.2021) | 01:02 (22.02.2021) | Tripped
10 | 400kV Hoody-D'hally | 00:52 (22.02.2021) | 06:43 (22.02.2021) | Tripped
11 | 400kV BTPS-Hiriyur#1 | 02:05 (22.02.2021) | 07:14 (22.02.2021) | o/o on O/V
12 | 220kV Lingapur-BTPS | 08:14 (22.02.2021) | 16:44 (22.02.2021) | O/O on L/C
13 | 220kV SMG-Hassan | 09:17 (22.02.2021) | 15:00 (22.02.2021) | O/O on L/C
14 | 220kV SGS-SMG#1 | 09:40 (22.02.2021) | 17:00 (22.02.2021) | O/O on L/C
15 | 220Kv GTR-Dvg#1 | 11:18 (22.02.2021) | 21:39 (22.02.2021) | O/O on L/C
16 | 220Kv GTR-Neelgunda | 11:54 (22.02.2021) | 21:30 (22.02.2021) | O/O on L/C
17 | 220kV SGS-SMG#1 | 20:34 (22.02.2021) |  | O/O on L/C
18
19
20
21
22