## M.I Gen & lines-22-02-2023
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF RNATAKA UNDERTAKING)
INTERRUPTION DETAILS WITH REASONS ON |  |  | 2023-02-22
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U1 | 20:00 (20.06.2022) |  | O/O COAL HANDLING ISSUE
2 | UPCL:U1 | 10:42 (04.02.2023) | 10:17 (22.02.2023) | O/O RESERVE SHUTDOWN
3 | RTPS: U5 | 13:30 (19.02.2023) |  | O/O BOILER LICENSE RENEWAL
4 | RTPS: U4 | 12:54 (21.02.2023) | 00:01 (23.02.2023) | O/O REHEATER PROTECTION OPERATED
5
6
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS |  |  | PRESENT STATUS
|  | FROM | TO
1 | 400KV-NELAMANGALA - HASSAN-1 | 18:17 (22.03.2022) |  | TRIPPED |  |  | TEST CHARGED @ 17:05 (07.05.2022)BUT AGAIN TRIPPED @17:32(07.05.2022)
2 | 400KV-NELAMANGALA - TALGUPPA-1 | 17:15 (29.03.2022) |  | TRIPPED
3 | 220kV A'hally-Nelamangala | 10:24 (05.12.2022) |  | O/O ON L/C |  |  | 30DAYS
4 | 220kV Chikkodi -Aques#1 | 09:05 (21.02.2023) |  | O/O ON L/C
5 | 220kV Kodasahalli-NPH#1 | 10:41 (21.02.2023) | 18:30 (22.02.2023) | O/O ON L/C
6 | 220kV Hassan-SMG#1 | 15:01 (22.02.2023) | 16:02 (22.02.2023) | TRIPPED
7 | 400kV Kaiga-Guttur#2 | 17:01 (22.02.2023) |  | TRIPPED
8 | 220kV Hubli-NRN#1 | 09:30 (22.02.2023) | 16:07 (22.02.2023) | O/O ON L/C
9 | 220kV Kemar-Heggunje | 11:09 (22.02.2023) | 12:32 (22.02.2023) | O/O ON L/C
10 | 220kV Shahpur-Lingasugur | 23:50 (22.02.2023) | 00:10 (23.02.2023)
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
LINE OPENS DUE TO POWER REGULATION/OVER VOLTAGE
27 | 220KV Kaiga - Kodasally | 17:38 (01.02.2023) |  | O/O ON P/R
28 | 220kV Kaiga-Kadra#1 | 17:46 (01.02.2023) |  | O/O ON P/R
29 | 220kV Kadkola-Hootagally | 18:00 (22.02.2023) | 08:00 (23.02.2023) | O/O ON P/R
30
31
30 |  |  |  |  | 0106 | 0605
31
32
33
34
35
36
37
38
39
40
41