## M.I Gen & lines-22.05.2020
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON 22.05.2020
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | UPCL: U1 | 12:30 (30.04.2020) |  | O/O - RSD
2 | BTPS: U3 | 13:15 (06.04.2020) |  | O/O - RSD
3 | UPCL: U2 | 01:36 (07.05.2020) |  | O/O - RSD
4 | YTPS: U2 | 12:45 (08.11.2018) |  | O/o - Turbine High Vibration
5 | RTPS: U8 | 07:56 (28.04.2020) |  | O/O - Generator Protection Operated
6 | RTPS: U3 | 10:31 (18.05.2020) |  | O/O - RSD
7 | RTPS: U5 | 12:03 (18.05.2020) |  | O/O - RSD
8 | BTPS: U1 | 11:18 (19.05.2020) |  | O/O - RSD
9 | BTPS: U2 | 13:02 (19.05.2020) |  | O/O - RSD
10 | RTPS: U2 | 11:39 (19.05.2020) |  | O/O - RSD
11 | RTPS: U4 | 09:20 (19.05.2020) |  | O/O - RSD
12 | RTPS: U7 | 09:32 (19.05.2020) |  | O/O - RSD
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV B.Bageadi-G M Navar#2 | 17:05 (04.03.2020) |  | Tripped
2 | 400kV Hoody-Nelamangala/YLK | 18:18 (05.03.2020) |  | O/O on L/C | 3 Months
3 | 400kV Hoody-Nelamangala/YLK | 18:45 (05.03.2020) |  | O/O on L/C | 3 Months
4 | 220kV Sedam-Tandur | 07:10 (06.04.2020) |  | O/O on L/C
5 | 220kV Shahpur-Gulbarga | 17:15 (17.04.2020) |  | Tripped
6 | 220kV Shahbad-Gulbarga | 19:58 (18.04.2020) |  | Tripped
7 | 220kV Kudugi-G M Navar#3 | 07:04 (19.04.2020) |  | Tripped
8 | 220kV Gbidnoor-HRYR #2 | 15:40 (01.05.2020) |  | O/O on OV
9 | 400kV UPCL-Hassan#2 | 17:14 (21.05.2020) |  | O/O on O/V
10 | 220kV Tubinakere- Kotipura #1 | 04:55 (22.05.2020) |  | Tripped
11 | 220kv Varahi-Kemar #2 | 10:51 (22.05.2020) | 14:30 (22.05.2020) | o/o on LC
12 | 220kv Kadra- Kodasalli | 12:59 (22.05.2020) | 18:25 (22.05.2020) | o/o on LC
13 | 400kv 500MVA ICT-3 | 13:55 (22.05.2020) | 18:16 (22.05.2020) | o/o on LC
14 | 220kv Hubli-NPH#2 | 17:21 (22.05.2020) | 19:29 (22.05.2020) | Tripped
15 | 220kv Narendra- Haveri | 17:28 (22.05.2020) | 22:42 (22.05.2020) | Tripped
16 | 220kv A'Wadi- Narendra #1 | 17:42 (22.05.2020) | 21:25 (22.05.2020) | Tripped
17 | 220kv Hubli-Bidanl #1 | 21:14 (22.05.2020) |  | o/o on LC