## M.I Gen & lines-23-02-2021
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2021-02-23
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U8 | 07:56 (28.04.2020) |  | O/O - Generator Protection Operated
2 | YTPS: U2 | 02:08 (05.12.2020) |  | O/O G T FAULT
3 | BTPS: U1 | 11:06 (05.01.2021) |  | O/O EARTH FAULT
4 | UPCL: U1 | 21:38 (18.02.2021) |  | O/O RSD
5 | UPCL: U2 | 19:19 (19.02.2021) |  | O/O RSD
6 | RTPS: U5 | 20:52 (20.02.2021) | 04:25 (24.02.2021) | O/O RSD
7 | YPTS:U1 | 05:23 (21.02.2021) |  | O/O BOILER TUBE LEAKAGE
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV Kudugi-G M Navar#4 | 21:06 (28.08.2020) |  | Tripped
2 | 400KV-Kolar-S'hally | 16:15 (10.02.2021) |  | O/O on L/C
3 | 220kV Lingasugur-Mallath | 17:40 (19.02.2021) |  | Tripped
4 | 500MVA ICT-2 @ S'hally | 11:17 (20.02.2021) | 21:30 (23.02.2021) | O/o on LC
5 | 220kV Honalli-DVG | 10:15 (23.02.2021) |  | Tripped
6 | 220kV Ambewadi-NRN#2 | 00:14 (21.02.2021) |  | Tripped
7 | 220kV M L Pura-Vajramatti#2 | 15:17 (23.02.2021) |  | Tripped
8 | 220kV Kolar-Kolar(PGCIL) | 11:36 (23.02.2021) | 15:20 (23.02.2021) | O/O on L/C
9 | 220kV Kadra-Kodasally | 09:45 (23.02.2021) | 14:48(23.02.2021) | O/O on L/C
10 | 220kV Kadra-Kaiga | 13:30 (23.02.2021) | 17:18 (23.02.2021) | Tripped
11 | 220kV Kadra Station | 13:30 (23.02.2021) | 14:48(23.02.2021) | Bus Dead
12 | 220kV VPH-SMG#2 | 16:14 (23.02.2021) | 21:28 (23.02.2021) | Tripped
14 | 220kV SGS-SMG#1 | 20:34 (22.02.2021) | 16:13 (23.02.2021) | O/O on L/C
18
19
20
21
22