## M.I Gen & lines-23-04-2021
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2021-04-23
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | YTPS: U2 | 02:08 (05.12.2020) |  | O/O G T FAULT
2 | BTPS: U1 | 11:06 (05.01.2021) |  | O/O EARTH FAULT
3 | BTPS:U2 | 15:16 (21.04.2021) |  | O/O BOILER TUBE LEAKAGE
4 | UPCL: U1 | 20:42 (23.04.2021) |  | O/O RSD
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV Kudugi-G M Navar#4 | 21:06 (28.08.2020) |  | Tripped | WORK UNDER PROGRESS( RELAY REPLACEMENT)
2 | 400kV NLM-Hassan | 16:26 (05.03.2021) |  | Tripped | LOC- 795 ( INSULATOR FLASH OVER) WORK UNDER PROGRESS
3 | 220kV Belgaum-Chikkodi#2 | 12:55 (21.04.2021) |  | O/O on L/C(15 DAYS) | R & U WORKS
4 | 220kV Ambewadi-NPH#2 | 16:25 (21.04.2021) |  | O/O on L/C(15 DAYS)
5 | 400KV-GUTTUR - HIRIYUR-1 | 10:14 (22.04.2021) | 12:35 (23.04.2021) | O/O on L/C
6 | 400KV-TALGUPPA - HASSAN-1 | 19:11 (22.04.2021) |  | Tripped
7 | 220kV Raichur-Jurala | 00:26 (23.04.2021) | 01:01 (23.04.2021) | Tripped
8 | 220kV Lingasugur-RTPS 2 | 00:55 (23.04.2021) | 01:15 (23.04.2021) | Tripped
9 | 220kV TKHally-Kanakapura | 09:15 (23.04.2021) |  | O/o on LC for 10 days
10 | 220kV Bidnal-Tadas 1 line | 10:36 (23.04.2021) | 12:04 (23.04.2021) | O/o on LC
11 | 220kV B'wadi-Lingasugur1& 2 | 11:45 (23.04.2021) | 14:47 (23.04.2021) | O/o on LC
12 | 220kV Kuduchi-MLPura | 11:10 (23.04.2021) | 13:51 (23.04.2021) | O/o on LC
13 | 400kV Talaguppa-Nelamangala | 13:06 (23.04.2021) |  | O/o on LC
14 | 220kV Kuduchi-Athani | 13:56 (23.04.2021) | 14:50 (23.04.2021) | O/o on LC
15 | 400kV Guttur-BTPS | 14:24 (23.04.2021) |  | Tripped at BTPS end
16 | 220kV Kudchi-Chikkodi 2 | 14:55 (23.04.2021) | 15:39 (23.04.2021) | O/o on LC
17 | 220kV Ranebennur-S'koppa | 14:25 (23.04.2021) | 18:30 (23.04.2021) | O/o on LC
18 | 220kV Yarandahalli-Mylasandra | 17:10 (23.04.2021) | 18:30 (23.04.2021) | Tripped
19 | 220kV Lingapura-BTPS | 20:25 (23.04.2021) |  | Tripped
20 | 220kV EPIP-Hoody | 18:52 (23.04.2021) |  | Tripped @ Hoody end
21
22
23
24
25
26
27
28
29
Note on D19: Author: