## M.I Gen & lines-23-07-2020
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON 23-07-2020
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | BTPS: U3 | 13:15 (06.04.2020) |  | O/O - RSD
2 | RTPS: U8 | 07:56 (28.04.2020) |  | O/O - Generator Protection Operated
3 | YTPS: U1 | 12:08 (03.06.2020) |  | O/O - RSD
4 | RTPS: U7 | 07:34 (02.06.2020) |  | O/O - RSD
5 | BTPS: U1 | 13:45 (02.06.2020) |  | O/O - RSD
6 | BTPS: U2 | 16:31 (02.06.20200 |  | O/O - RSD
7 | RTPS: U4 | 06:46 (11.06.2020) |  | O/O - STEAM TURBINE LEAKAGE
8 | RTPS: U2 | 11:39 (19.05.2020) |  | O/O - RSD
9 | RTPS: U5 | 16:34 (10.06.2020) |  | O/O-RSD
10 | RTPS: U3 | 22:34 (26.06.2020) |  | O/O-Boiler tube leakage
11 | RTPS: U1 | 11:50 (02.07.2020) |  | O/O-RSD
12 | RTPS: U6 | 10:24 (06.07.2020) |  | O/O-RSD
13 | UPCL: U2 | 12:22 (12.07.2020) |  | O/O-RSD
14 | YTPS: U2 | 11:56 (18.07.2020) |  | O/O-RSD
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV B.Bageadi-G M Navar#2 | 17:05 (04.03.2020) |  | Tripped
2 | 400kV Hoody-Nelamangala/YLK | 18:18 (05.03.2020) |  | O/O on L/C | 3 Months
3 | 400kV Hoody-Nelamangala/YLK | 18:45 (05.03.2020) |  | O/O on L/C | 3 Months
4 | 220kV Shahpur-Gulbarga | 17:15 (17.04.2020) |  | Tripped
5 | 220kV Kudugi-G M Navar#3 | 07:04 (19.04.2020) |  | Tripped
6 | 400kV BPS-Jagalur# 2 | 10:21 (10.07.2020) |  | O/O on O/V
8 | 400kV Guttur-Kaiga #2 | 23:36 (22.07.2020) | 09:14 (23.07.2020) | O/O on O/V
| 220kV Belgaum-Chikkodi | 23:27 (22.07.2020) |  | Tripped
9 | 220KV-AMBEWADI - XELDEM | 11:38 (23.07.2020) | 12:33 (23.07.2020) | Tripped
10 | 400KV/220KV NELAMANGALA-ICT - 3 | 12:51 (23.07.2020) | 16:55 (23.07.2020) | O/O on L/C
11 | 400KV/220KV GUTTUR-ICT - 2 | 14:09 (23.07.2020) | 17:34 (23.07.2020) | O/O on L/C
12 | 220kV MRS-Honnalli | 01:56 (23.07.2020) | 12:47 (23.07.2020) | Tripped
13 | 220kV Kemar-Puttur#2 | 03:22 (23.07.2020) | 20:16 (23.07.2020) | Tripped
14 | 220kV RTPS-Mallat | 03:25 (23.07.2020) | 15:50 (23.07.2020) | Tripped
15 | 220kV Kadkola-C R Nagar | 09:32 (23.07.2020) | 12:39 (23.07.2020) | O/O on L/C
16 | 220kV VPH-Kemar#1 | 10:03 (23.07.2020) | 12:21 (23.07.2020) | O/O on L/C
17 | 220kV HBL-NPH#1&#2 | 11:09 (23.07.2020) | 15:20 (23.07.2020) | O/O on L/C
18 | 220kV SGS-Shiralkoppa | 11:56 (23.07.2020) | 18:18 (23.07.2020) | Tripped
19 | 220kV Puttenhally-Manyatha | 18:04 (23.07.2020) | 21:46 (23.07.2020) | Tripped
20 | 220kV Lingasgur-RTPS | 15:21 (23.07.2020) | 16:02 (23.07.2020) | Tripped