## M.I Gen & lines-24-02-2021
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2021-02-24
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U8 | 07:56 (28.04.2020) |  | O/O - Generator Protection Operated
2 | YTPS: U2 | 02:08 (05.12.2020) |  | O/O G T FAULT
3 | BTPS: U1 | 11:06 (05.01.2021) |  | O/O EARTH FAULT
4 | UPCL: U1 | 21:38 (18.02.2021) |  | O/O RSD
5 | UPCL: U2 | 19:19 (19.02.2021) |  | O/O RSD
6 | RTPS: U5 | 19:48 (24.02.2021) |  | O/O BOILER TUBE LEAKAGE
7 | YPTS:U1 | 05:23 (21.02.2021) |  | O/O BOILER TUBE LEAKAGE
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV Kudugi-G M Navar#4 | 21:06 (28.08.2020) |  | Tripped
2 | 400KV-Kolar-S'hally | 16:15 (10.02.2021) |  | O/O on L/C
3 | 220kV Lingasugur-Mallath | 17:40 (19.02.2021) |  | Tripped
4 | 220kV Ambewadi-NRN#2 | 00:14 (21.02.2021) | 18:30 (24.02.2021) | Tripped
5 | 220kV Honnali-DVG | 10:15 (23.02.2021) | 18:30 (24.02.2021) | Tripped
6 | 220kV M L Pura-Vajramatti#1 | 15:17 (23.02.2021) |  | Tripped
7 | 220kV M L Pura-Vajramatti#2 | 00:30 (24.02.2021) |  | O/O on L/C
8 | 220kV M L Pura-NRN#2 | 11:10 (24.02.2021) | 11:50 (24.02.2021) | O/O on L/C
9 | 220kV SGS-SMG#1 | 10:30 (24.02.2021) | 17:06 (24.02.2021) | O/O on L/C
10 | 220kV Ambewadi-Xeldom | 10:49 (24.02.2021) | 19:22 (24.02.2021) | Tripped
11 | 315 MVA ICT-1 @ Guttur | 11:21 (24.02.2021) | 18:33 (24.02.2021) | O/O on L/C
12 | 400kV Jagalur-BPS#1 | 11:33 (24.02.2021) | 18:54 (24.02.2021) | O/O on L/C
13 | 220kV Hootagally-Bastipura#2 | 11:08 (24.02.2021) | 11:18 (24.02.2021) | O/O on L/C
14 | 220kV M L Pura-Savadatti | 12:50 (24.02.2021) | 13:42 (24.02.2021) | Tripped
15 | 220kV Sedam-Shahpur | 13:26 (24.02.2021) | 17:25 (24.02.2021) | Tripped
16 | 220kV Dabaspet-Kadur | 14:35 (24.02.2021) | 18:30 (24.02.2021) | Tripped
17 | 220kV NPH-Hubli#3 | 15:31 (24.02.2021) | 18:01 (24.02.2021) | Tripped
18
19
20
21
22