## M.I Gen & lines-24-02-2023
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF RNATAKA UNDERTAKING)
INTERRUPTION DETAILS WITH REASONS ON |  |  | 2023-02-24
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U1 | 20:00 (20.06.2022) |  | O/O COAL HANDLING ISSUE
2 | RTPS: U5 | 13:30 (19.02.2023) |  | O/O BOILER LICENSE RENEWAL
3
4
5
6
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS |  |  | PRESENT STATUS
|  | FROM | TO
1 | 400KV-NELAMANGALA - HASSAN-1 | 18:17 (22.03.2022) |  | TRIPPED |  |  | TEST CHARGED @ 17:05 (07.05.2022)BUT AGAIN TRIPPED @17:32(07.05.2022)
2 | 400KV-NELAMANGALA - TALGUPPA-1 | 17:15 (29.03.2022) |  | TRIPPED
3 | 220kV A'hally-Nelamangala | 10:24 (05.12.2022) |  | O/O ON L/C
4 | 400kV Kaiga-Guttur#2 | 17:01 (22.02.2023) |  | TRIPPED
5 | 220kV Puttenahally- Sahakarnagar- 2 | 15:48 (23.02.2023) |  | TRIPPED
6 | 220kV Shahpur-L'sugur | 05:34 (24.02.2023) | 06:05 (24.02.2023) | TRIPPED
7 | 220kV RTPS-Lingasugur#2 | 10:35 (24.02.2023) |  | O/O ON L/C |  |  | O/O AT RTPS
8 | 220kV Shimoga-KB Cross | 10:41 (24.02.2023) | 17:54 (24.02.2023) | O/O ON L/C
9 | Main bay of 400kV RTPS-Raichur#1 | 11:53 (24.02.2023) | 17:12 (24.02.2023) | O/O ON L/C
10 | 400kV Guttur-Hiriyur#2 | 13:24 (24.02.2023) | 16:07 (24.02.2023) | TRIPPED
11 | 220kV VPH-SMG#1 | 13:56 (24.02.2023) | 18:06 (24.02.2023) | TRIPPED
12 | 220kV Malur-S'hally | 14:36 (24.02.2023) | 15:02 (24.02.2023) | TRIPPED
13
14
15
16
17
18
19
20
21
22
23
24
25
26
LINE OPENS DUE TO POWER REGULATION/OVER VOLTAGE
27 | 220KV Kaiga - Kodasally | 17:38 (01.02.2023) |  | O/O ON P/R
28 | 220kV Kaiga-Kadra#1 | 17:46 (01.02.2023) |  | O/O ON P/R
29
30
31
30 |  |  |  |  | 0106 | 0605
31
32
33
34
35
36
37
38
39
40
41