## M.I Gen & lines-24-04-2021
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2021-04-24
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | YTPS: U2 | 02:08 (05.12.2020) |  | O/O G T FAULT
2 | BTPS: U1 | 11:06 (05.01.2021) |  | O/O EARTH FAULT
3 | BTPS:U2 | 15:16 (21.04.2021) | 00:57 (25.04.2021) | O/O BOILER TUBE LEAKAGE
4 | UPCL: U1 | 20:42 (23.04.2021) |  | O/O RSD
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV Kudugi-G M Navar#4 | 21:06 (28.08.2020) |  | Tripped | WORK UNDER PROGRESS( RELAY REPLACEMENT)
2 | 400kV NLM-Hassan | 16:26 (05.03.2021) |  | Tripped | LOC- 795 ( INSULATOR FLASH OVER) WORK UNDER PROGRESS
3 | 220kV Belgaum-Chikkodi#2 | 12:55 (21.04.2021) |  | O/O on L/C(15 DAYS) | R & U WORKS
4 | 220kV Ambewadi-NPH#2 | 16:25 (21.04.2021) |  | O/O on L/C(15 DAYS)
5 | 400KV-TALGUPPA - HASSAN-1 | 19:11 (22.04.2021) |  | Tripped
6 | 220kV TKHally-Kanakapura | 09:15 (23.04.2021) |  | O/o on LC for 10 days
7 | 400kV Talaguppa-Nelamangala | 13:06 (23.04.2021) |  | O/o on LC
8 | 400kV Guttur-BTPS | 14:24 (23.04.2021) | 10:54 (24.04.2021) | Tripped at BTPS end
9 | 220kV Lingapura-BTPS | 20:25 (23.04.2021) | 12:24 (24.04.2021) | Tripped
10 | 220kV EPIP-Hoody | 18:52 (23.04.2021) | 20:25 (23.04.2021) | Tripped @ Hoody end
11 | 220kV Gowribidnur-Hiriyur #2 | 01:13 (24.04.2021) | 01:42 (24.04.2021) | Tripped
12 | 220kV Gowribidnur-Hiriyur #2 | 02:15 (24.04.2021) | 14:29 (24.04.2021) | Hand Tripped
13 | 500MVA ICT #2 at Hoody | 09:11 (24.04.2021) | 10:44 (24.04.2021) | Tripped
14 | 200kV Hoody-HSR | 09:12 (24.04.2021) | 09:55 (24.04.2021) | Tripped
15 | 220kV Ambewadi-NPH #1 | 10:16 (24.04.2021) | 13:45 (24.04.2021) | O/O on LC
16 | 220kV Gowribidnur-Hiriyur #1 | 10:40 (24.04.2021) | 14:09 (24.04.2021) | O/O on LC
17 | 400kV Hiriyur-BTPS #2 | 11:04 (24.04.2021) | 23:31 (24.04.2021) | O/O on LC
18 | 315 MVA ICT #1 at Guttur | 12:14 (24.04.2021) | 13:08 (24.04.2021) | Tripped
19 | 220kV Kushtagi-Lingsugur | 14:32 (24.04.2021) | 17:02 (24.04.2021) | Tripped
20 | 220kV Lingsugur-Sindanur | 14:32 (24.04.2021) |  | Tripped
21 | 220kV SMG-SGS #4 | 14:32 (24.04.2021) | 18:03 (24.04.2021) | Tripped
22
23
24
25
26
27
28
29