## M.I Gen & lines-25-07-2020
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON 25-07-2020
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | BTPS: U3 | 13:15 (06.04.2020) |  | O/O - RSD
2 | RTPS: U8 | 07:56 (28.04.2020) |  | O/O - Generator Protection Operated
3 | YTPS: U1 | 12:08 (03.06.2020) |  | O/O - RSD
4 | RTPS: U7 | 07:34 (02.06.2020) |  | O/O - RSD
5 | BTPS: U1 | 13:45 (02.06.2020) |  | O/O - RSD
6 | BTPS: U2 | 16:31 (02.06.20200 |  | O/O - RSD
7 | RTPS: U4 | 06:46 (11.06.2020) |  | O/O - STEAM TURBINE LEAKAGE
8 | RTPS: U2 | 11:39 (19.05.2020) |  | O/O - RSD
9 | RTPS: U5 | 16:34 (10.06.2020) |  | O/O-RSD
10 | RTPS: U3 | 22:34 (26.06.2020) |  | O/O-Boiler tube leakage
11 | RTPS: U1 | 11:50 (02.07.2020) |  | O/O-RSD
12 | RTPS: U6 | 10:24 (06.07.2020) |  | O/O-RSD
13 | UPCL: U2 | 12:22 (12.07.2020) |  | O/O-RSD
14 | YTPS: U2 | 11:56 (18.07.2020) |  | O/O-RSD
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV B.Bageadi-G M Navar#2 | 17:05 (04.03.2020) |  | Tripped
2 | 400kV Hoody-Nelamangala/YLK | 18:18 (05.03.2020) |  | O/O on L/C | 3 Months
3 | 400kV Hoody-Nelamangala/YLK | 18:45 (05.03.2020) |  | O/O on L/C | 3 Months
4 | 220kV Shahpur-Gulbarga | 17:15 (17.04.2020) |  | Tripped
5 | 220kV Kudugi-G M Navar#3 | 07:04 (19.04.2020) |  | Tripped
6 | 400kV BPS-Jagalur# 2 | 10:21 (10.07.2020) |  | O/O on O/V
7 | 220kV Belgaum-Chikkodi | 23:27 (22.07.2020) |  | Tripped
8 | 400kV Guutur-Narendra #2 | 00:15 (24.07.2020) |  | O/O on O/V
9 | 400kV NLMG-TLGP | 00:31 (25.07.2020) |  | O/O on O/V
10 | 220kV Lingsugur-Sindanoor | 01:27 (25.07.2020) | 01:43 (25.07.2020) | Tripped
11 | 220kV Mallat-RTPS | 04:37 (25.07.2020) | 04:56 (25.07.2020) | Tripped
12 | 220kV Bidnal-Savdatti | 10:22 (25.07.2020) | 15:41 (25.07.2020) | O/O on L/C
13 | 220kV Kadakola-Kpet | 10:18 (25.07.2020) | 16:39 (25.07.2020) | O/O on L/C
14 | 220kV Hubli-Sirsi #2 | 15:05 (25.07.2020) |  | Tripped