## M.I Gen & lines-25-11-2020
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2020-11-25
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U8 | 07:56 (28.04.2020) |  | O/O - Generator Protection Operated
2 | RTPS: U7 | 07:34 (02.06.2020) |  | O/O - RSD
3 | RTPS: U2 | 11:39 (19.05.2020) |  | O/O - RSD
4 | RTPS: U3 | 22:34 (26.06.2020) |  | O/O-RSD Later on Tripped On unit auxillary transformer(10.11.2020)
6 | RTPS: U6 | 10:24 (06.07.2020) |  | O/O-RSD later on AOH from( 02.11.2020)
7 | YTPS: U2 | 11:56 (18.07.2020) |  | O/O-RSD Later on GT problem from(27.08.2020)
8 | BTPS: U3 | 13:15 ( 12.10.2020) |  | O/O- RSD
9 | UPCL: U1 | 20:55 ( 07.11.2020) |  | O/O- RSD
10 | UPCL: U2 | 00:09 (08.11.2020) |  | O/O- RSD
11 | RTPS: U4 | 20:12 (10.11.2020) | 13:41 (25.11.2020) | O/O - G T PROBLEM LATER ON RSD
12 | RTPS: U5 | 12:51 (24.11.2020) |  | O/O ECOMISER LEAKAGE
13 | RTPS: U1 | 10:48 (14.11.2020) |  | O/O - RSD
14 | RTPS: U4 | 01:57 (25.11.2020) |  | O/O - BOILER FLAME FAILURE
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 400kV Hoody-Nelamangala/YLK | 18:18 (05.03.2020) |  | O/O on L/C
2 | 400kV Hoody-Nelamangala/YLK | 18:45 (05.03.2020) |  | O/O on L/C
3 | 400kV BPS-Jagalur#2 | 23:54 (26.09.2020) |  | O/O on O/V
4 | 400kV Kaiga-Guttur #2 | 19:08 (29.10.2020) |  | Tripped
5 | 400kV UPCL-Hasaan#1 | 17:39 (14.11.2020) |  | O/O on O/V
6 | 220kV Ambewadi-NRN#2 | 00:15 (25.11.2020) | 11:20 (25.11.2020) | Tripped
7 | 400kV GTR-NRN#2 | 02:00 (25.11.2020) | 07:41 (25.11.2020) | O/O on O/V
8 | 220kV Raichur-Jurala#1&#2 | 05:58 (25.11.2020) |  | O/O on L/C
9 | 220kV Kolar-Chintamani#1&#2 | 01:02 (25.11.2020) | 17:07 (25.11.2020) | O/O on L/C
10 | 220kV Sedam-RTPS#2 | 12:57 (25.11.2020) | 15:33 (25.11.2020) | O/O on L/C
11 | 220kV Bagalkote-Vajramatti#1 | 13:12 (25.11.2020) | 16:18 (25.11.2020) | Tripped
12 | 400kV UPCL-Hassan#2 | 23:01 (25.11.2020) | 07:15 (26.11.2020) | O/O on O/V
13
14
16
17
18
20
21
22
23
24
25
26
27
28
29
30
31