## M.I Gen & lines-26-01-2021
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2021-01-26
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U8 | 07:56 (28.04.2020) |  | O/O - Generator Protection Operated
2 | RTPS: U3 | 22:34 (26.06.2020) |  | O/O-RSD Later on Tripped On unit auxillary transformer(10.11.2020)
3 | YTPS: U2 | 02:08 (05.12.2020) |  | O/O G T FAULT
4 | UPCL: U1 | 00:55 (02.01.2021) |  | O/O VIBRATION IN TURBINE
6 | BTPS: U1 | 11:06 (05.01.2021) |  | O/O EARTH FAULT
7 | RTPS: U5 | 12:37 (12.01.2021) |  | O/O RSD
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV Kudugi-G M Navar#4 | 21:06 (28.08.2020) |  | Tripped
2 | 220KV-JURALA - RAICHUR_KA-1 | 06:00 (20.01.2021) |  | O/O on L/C
3 | 220KV-JURALA - RAICHUR_KA-2 | 06:00 (20.01.2021) |  | O/O on L/C
4 | 220kV Shiralakoppa- Ranebennur line | 17:19 (25.01.2021) | 14:50 (26.01.2021) | O/O on P/R
5 | 220kV Sirsi-Hubli #2 line | 11:52 (25.01.2021) | 13:10 (26.01.2021) | O/O on L/C
6 | 220kV Shimogga-Sharavathi #2 line | 00:30 (25.01.2021) |  | Tripped
7 | 220kV Hubli-Nagjhari#3 | 02:15 (26.01.2021) | 12:20 (26.01.2021) | Tripped
8 | 220kV RTPS-Mallat | 05:00 (26.01.2021) | 05:19 (26.01.2021) | Tripped
9 | 220kV VPH-SMG#3 | 11:10 (26.01.2021) | 13:37 (26.01.2021) | Tripped
10 | 220kV NPH-Bidnal | 12:45 (26.01.2021) | 15:05 (26.01.2021) | O/O on L/C
11 | 220kV BTPS-Lingapur | 12:26 (26.01.2021) | 15:40 (26.01.2021) | Tripped
12 | 220kV NRN-Belgam#1 | 14:00 (26.01.2021) | 17:14 (26.01.2021) | Tripped
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29