## M.I Gen & lines-26-02-2021
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2021-02-26
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U8 | 07:56 (28.04.2020) |  | O/O - Generator Protection Operated
2 | YTPS: U2 | 02:08 (05.12.2020) |  | O/O G T FAULT
3 | BTPS: U1 | 11:06 (05.01.2021) |  | O/O EARTH FAULT
4 | UPCL: U1 | 21:38 (18.02.2021) |  | O/O RSD
5 | RTPS: U5 | 19:48 (24.02.2021) |  | O/O BOILER TUBE LEAKAGE
6 | YPTS:U1 | 05:23 (21.02.2021) |  | O/O BOILER TUBE LEAKAGE
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV Kudugi-G M Navar#4 | 21:06 (28.08.2020) |  | Tripped
2 | 400KV-Kolar-S'hally | 16:15 (10.02.2021) |  | O/O on L/C
3 | 220kV M L Pura-Vajramatti#1 | 15:17 (23.02.2021) |  | Tripped
4 | 220kV M L Pura-Vajramatti#2 | 00:30 (24.02.2021) |  | O/O on L/C
5 | 2202kV NPH-Hubli#3 | 11:05 (25.02.2021) | 13:51 (26.02.2021) | Tripped
6 | 2202kV NPH--Bidnal | 14:09 (26.02.2021) | 17:56 (26.02.2021) | Tripped
7 | 220kV M L Pura-Savadatti | 13:19 (25.02.2021) | 13:56 (26.02.2021) | Tripped
8 | 220kV Ambewadi-Xeldom | 22:49 (25.02.2021) |  | Tripped
9 | 220kV Lingapura-Halwarthy #1line | 06:05 (26.02.2021) | 07:53 (26.02.2021) | Tripped
10 | 220kV Honnali-Shimoga line | 10:22 (26.02.2021) |  | Tripped
11 | 220kV VPH-Kemar #3 line | 10:28 (26.02.2021) |  | O/O on L/C
12 | 220kV Naarendra-Belagum #1 line | 12:15 (26.02.2021) | 16:37 (26.02.2021) | Tripped
13 | 220kV Sirsi-Hubli #2 | 13:20 (26.02.2021) | 18:19 (26.02.2021) | Tripped
14 | 40kV Nelamangala-Talaguppa line | 18:05 (26.02.2021) |  | Tripped
15 | 220kV Ambewadi-Narendra#1line | 14:10 (26.02.2021) | 13:54 (26.02.2021) | O/O on L/C
16
17
18
19
20
21
22