## M.I Gen & lines-26-02-2023
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF RNATAKA UNDERTAKING)
INTERRUPTION DETAILS WITH REASONS ON |  |  | 2023-02-26
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U1 | 20:00 (20.06.2022) |  | O/O COAL HANDLING ISSUE
2 | RTPS: U5 | 13:30 (19.02.2023) |  | O/O BOILER LICENSE RENEWAL
3
4
5
6
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS |  |  | PRESENT STATUS
|  | FROM | TO
1 | 400KV-NELAMANGALA - HASSAN-1 | 18:17 (22.03.2022) |  | TRIPPED |  |  | TEST CHARGED @ 17:05 (07.05.2022)BUT AGAIN TRIPPED @17:32(07.05.2022)
2 | 400KV-NELAMANGALA - TALGUPPA-1 | 17:15 (29.03.2022) |  | TRIPPED
3 | 220kV A'hally-Nelamangala | 10:24 (05.12.2022) |  | O/O ON L/C
4 | 220kV Narendra-Ghatapraba | 04:09 (26.02.2023) | 04:39 (26.02.2023) | TRIPPED
5 | 220kV Peenya-Sahakarnagar | 06:53 (26.02.2023) | 12:30 (26.02.2023) | O/O ON L/C
6 | 220kV NLM-Anchepalaya | 09:51 (26.02.2023) | 18:25 (26.02.2023) | O/O ON L/C
7 | 220kV NLM-Anchepalaya | 19:53 (26.02.2023) | 20:08 (26.02.2023) | O/O ON L/C
8 | 220kV NLM-Magadi | 08:53 (26.02.2023) | 18:22 (26.02.2023) | O/O ON L/C
9 | 220kV KIADB-V'pura | 09:50 (26.02.2023) | 17:19 (26.02.2023) | O/O ON L/C
10 | 220kV KIADB-Madhugiri | 10:20 (26.02.2023) | 16:57 (26.02.2023) | O/O ON L/C
11 | 400kV Mylsandra-S'hally | 10:05 (26.02.2023) | 17:33 (26.02.2023) | O/O ON L/C
12 | 220kV Shahpur-RTPS#1 | 10:05 (26.02.2023) | 18:12 (26.02.2023) | O/O ON L/C
13 | 220kV Hubli-Sirsi#1 | 12:38 (26.02.2023) | 19:40 (26.02.2023) | TRIPPED
14 | 220kV G B Noor-Sira#1 | 16:12 (26.02.2023) | 18:20 (26.02.2023) | TRIPPED
15 | 400kV YTPS-BPS#1 | 18:55 (26.02.2023) | 19:35 (26.02.2023) | O/O ON L/C
16 | 220kV SGS-Sirsi#2 | 14:39 (26.02.2023) | 18:41 (26.02.2023) | TRIPPED
17 | 220kV BTPS-Alipura | 14:51 (26.02.2023) |  | O/O ON L/C
18
19
20
21
22
23
24
25
26
LINE OPENS DUE TO POWER REGULATION/OVER VOLTAGE
27 | 220KV Kaiga - Kodasally | 17:38 (01.02.2023) |  | O/O ON P/R
28 | 220kV Kaiga-Kadra#1 | 17:46 (01.02.2023) |  | O/O ON P/R
29
30
31
30 |  |  |  |  | 0106 | 0605
31
32
33
34
35
36
37
38
39
40
41