## M.I Gen & lines-26-04-2021
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2021-04-26
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | YTPS: U2 | 02:08 (05.12.2020) |  | O/O G T FAULT
2 | BTPS: U1 | 11:06 (05.01.2021) |  | O/O EARTH FAULT
3 | BTPS:U2 | 16:56 (25.04.2021) | 07:04 (26.04.2021) | O/O TURBINE SHAFT VIBRATION
4 | UPCL: U1 | 20:42 (23.04.2021) |  | O/O RSD
5 | RTPS: U8 | 08:53 (25.04.2021) | 10:35 (26.04.2021) | O/O TRIM BALANCE WORKS
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV Kudugi-G M Navar#4 | 21:06 (28.08.2020) |  | Tripped | WORK UNDER PROGRESS( RELAY REPLACEMENT)
2 | 400kV NLM-Hassan | 16:26 (05.03.2021) |  | Tripped | LOC- 795 ( INSULATOR FLASH OVER) WORK UNDER PROGRESS
3 | 220kV Belgaum-Chikkodi#2 | 12:55 (21.04.2021) |  | O/O on L/C(15 DAYS) | R & U WORKS
4 | 220kV Ambewadi-NPH#2 | 16:25 (21.04.2021) |  | O/O on L/C(15 DAYS)
5 | 220kV TKHally-Kanakapura | 09:15 (23.04.2021) |  | O/o on LC for 10 days
6 | 400kV Talaguppa-Nelamangala | 13:06 (23.04.2021) | 18:19 (26.04.2021) | O/o on LC
7 | 400KV-GUTTUR - BTPS-1 | 21:08 (25.04.2021) | 10:16 (26.04.2021) | O/o on O/V
8 | 220kV Guttur-Haveri#1 | 01:42 (26.04.2021) | 13:52 (26.04.2021) | Tripped
9 | 220kV GTR-DVG#1 | 09:38 (26.04.2021) | 14:12 (26.04.2021) | Tripped
10 | 220kV Hoody-Manyatha | 13:02 (26.04.2021) | 14:10 (26.04.2021) | Tripped
11 | 220kV Lingasugur sation | 13:15 (26.04.2021) | 14:02 (26.04.2021) | Bus dead
12 | 220kV SGS-Shiralkoppa | 14:30 (26.04.2021) | 17:24 (26.04.2021) | O/o on LC
13 | 220kV G B Noor-Hiriyur#2 | 14:35 (26.04.2021) | 21:45 (26.04.2021) | O/o on LC
14 | 220kV G B Noor-Hiriyur#1 | 14:40 (26.04.2021) | 21:44 (26.04.2021) | O/o on LC
15 | 220kV SMG-Kadur | 15:42 (26.04.2021) | 17:35 (26.04.2021) | O/o on LC
16
17
18
19
20
21
22
23
24
25
26
27
28
29