## M.I Gen & lines-26.05.2020
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON 26.05.2020
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | UPCL: U1 | 12:30 (30.04.2020) |  | O/O - RSD
2 | BTPS: U3 | 13:15 (06.04.2020) |  | O/O - RSD
3 | UPCL: U2 | 01:36 (07.05.2020) |  | O/O - RSD
4 | YTPS: U2 | 12:45 (08.11.2018) |  | O/o - Turbine High Vibration
5 | RTPS: U8 | 07:56 (28.04.2020) |  | O/O - Generator Protection Operated
6 | RTPS: U3 | 10:31 (18.05.2020) |  | O/O - RSD
7 | RTPS: U5 | 12:03 (18.05.2020) |  | O/O - RSD
8 | BTPS: U1 | 11:18 (19.05.2020) |  | O/O - RSD
9 | RTPS: U4 | 09:20 (19.05.2020) |  | O/O - RSD
10 | RTPS: U2 | 11:39 (19.05.2020) |  | O/O - RSD
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV B.Bageadi-G M Navar#2 | 17:05 (04.03.2020) |  | Tripped
2 | 400kV Hoody-Nelamangala/YLK | 18:18 (05.03.2020) |  | O/O on L/C | 3 Months
3 | 400kV Hoody-Nelamangala/YLK | 18:45 (05.03.2020) |  | O/O on L/C | 3 Months
4 | 220kV Sedam-Tandur | 07:10 (06.04.2020) |  | O/O on L/C
5 | 220kV Shahpur-Gulbarga | 17:15 (17.04.2020) |  | Tripped
6 | 220kV Shahbad-Gulbarga | 19:58 (18.04.2020) |  | Tripped
7 | 220kV Kudugi-G M Navar#3 | 07:04 (19.04.2020) |  | Tripped
8 | 220kV Gbidnoor-HRYR #2 | 15:40 (01.05.2020) |  | O/O on OV
9 | 400kV UPCL-Hassan#2 | 17:14 (21.05.2020) |  | O/O on O/V
10 | 220kV Gadag-Dhoni#1 | 08:53 (26.05.2020) | 11:39 (26.05.2020) | Tripped
11 | 220kV SMG-K B Cross | 02:15 (26.05.2020) | 13:12 (26.05.2020) | Tripped
12 | 220kV SGS-Sirsi#2 | 03:02 (26.05.2020) | 04:22 (26.05.2020) | Tripped
13 | 220kV RTPS-Mallat | 04:16 (26.05.2020) | 05:37 (26.05.2020) | Tripped
14 | 220kV Kodasally-kaiga | 10:29 (26.05.2020) | 16:19 (26.05.2020) | O/O on L/C
15 | 220kV Kadra-Karwar#1&#2 | 14:34 (26.05.2020) | 17:40 (26.05.2020) | Tripped
16 | 220kV Sedam-HBD#2 | 16:32 (26.05.2020) | 18:00 (26.05.2020) | Tripped
17 | 220kV Kolar-Malur#3 | 19:49 (26.05.2020) |  | Tripped
18 | 220kV Kadra-Karwar#1&#2 | 21:49 (26.05.2020) |  | Tripped
19 | 400KV-MEHBOOBNAGAR - RTPS-1 | 20:41 (26.05.2020) |  | Tripped
20 | 400KV-BPS - YTPS-2 | 20:50 (26.05.2020) |  | Tripped