## M.I Gen & lines-26-08-2020
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2020-08-26
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | BTPS: U3 | 13:15 (06.04.2020) |  | O/O - RSD
2 | RTPS: U8 | 07:56 (28.04.2020) |  | O/O - Generator Protection Operated
3 | RTPS: U7 | 07:34 (02.06.2020) |  | O/O - RSD
4 | BTPS: U1 | 13:45 (02.06.2020) |  | O/O - RSD
5 | BTPS: U2 | 16:31 (02.06.2020) |  | O/O - RSD
6 | RTPS: U4 | 06:46 (11.06.2020) |  | O/O - STEAM TURBINE LEAKAGE
7 | RTPS: U2 | 11:39 (19.05.2020) |  | O/O - RSD
8 | RTPS: U5 | 16:34 (10.06.2020) |  | O/O-RSD
9 | RTPS: U3 | 22:34 (26.06.2020) |  | O/O-Boiler tube leakage
10 | RTPS: U1 | 11:50 (02.07.2020) |  | O/O-RSD
11 | RTPS: U6 | 10:24 (06.07.2020) |  | O/O-RSD
12 | YTPS: U2 | 11:56 (18.07.2020) |  | O/O-RSD
14 | UPCL: U2 | 01:10 (04.08.2020) |  | O/O-RSD
15 | UPCL: U1 | 11:59 (03.08.2020) |  | O/O TO ACCOMMODATE RE POWER
16
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV B.Bageadi-G M Navar#2 | 17:05 (04.03.2020) |  | Tripped
2 | 400kV Hoody-Nelamangala/YLK | 18:18 (05.03.2020) |  | O/O on L/C | 3 Months
3 | 400kV Hoody-Nelamangala/YLK | 18:45 (05.03.2020) |  | O/O on L/C | 3 Months
4 | 220kV Shahpur-Gulbarga | 07:15 (17.04.2020) |  | Tripped
5 | 220kV Kudugi-G M Navar#3 | 07:04 (19.04.2020) |  | Tripped
6 | 400kV Guutur-Narendra #2 | 00:15 (25.07.2020) |  | O/O on O/V
7 | 400kV BPS-Jagalur#1 | 00:50 (18.08.2020) |  | O/O on O/V
8 | 220KV-JURALA - RAICHUR#1 | 06:42 (19.08.2020) | 08:17 (26.08.2020) | O/O on L/C
9 | 220KV-JURALA - RAICHUR#2 | 06:42 (19.08.2020) | 08:18 (26.08.2020) | O/O on L/C
10 | 400kV BTPS-Hiriyur#1 | 01:03 (21.08.2020) | 11:10 (26.08.2020) | O/O on O/V
11 | 400kV NLMG-Yelahanka | 07:35 (22.08.2020) | 10:29 (26.08.2020) | O/O on L/C
12 | 220kV SGS-SMG#4 | 19:09 (25.08.2020) | 13:52 (26.08.2020) | Tripped
13 | 220kV Guttur-Davanagere#1 | 03:16 (26.08.2020) | 07:30 (26.08.2020) | O/O on L/C
14 | 220kV S'koppa-Ranebennur | 09:47 (26.08.2020) | 10:44 (26.08.2020) | O/O on L/C
15 | 220kV Hoody-HAL#1 | 09:57 (26.08.2020) | 12:15 (26.08.2020) | O/O on L/C
16 | 220kV Kadkola-Bastipura | 11:01 (26.08.2020) | 16:16 (26.08.2020) | O/O on L/C
17 | 220kV NPH-Hubli#2 | 12:13 (26.08.2020) | 13:20 (26.08.2020) | Tripped
18 | 220kV G M Navar station | 18:32 (26.08.2020) | 18:48 (26.08.2020) | Bus Dead