## M.I Gen & lines-26-09-2020
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2020-09-26
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | BTPS: U3 | 13:15 (06.04.2020) |  | O/O - RSD
2 | RTPS: U8 | 07:56 (28.04.2020) |  | O/O - Generator Protection Operated
3 | RTPS: U7 | 07:34 (02.06.2020) |  | O/O - RSD
4 | BTPS: U1 | 13:45 (02.06.2020) |  | O/O - RSD
5 | BTPS: U2 | 16:31 (02.06.2020) |  | O/O - RSD
6 | RTPS: U4 | 06:46 (11.06.2020) |  | O/O - RSD LATER ON AOH
7 | RTPS: U2 | 11:39 (19.05.2020) |  | O/O - RSD
8 | RTPS: U5 | 16:34 (10.06.2020) |  | O/O-RSD
9 | RTPS: U3 | 22:34 (26.06.2020) |  | O/O-RSD
10 | RTPS: U1 | 11:50 (02.07.2020) |  | O/O-RSD
11 | RTPS: U6 | 10:24 (06.07.2020) |  | O/O-RSD
12 | YTPS: U2 | 11:56 (18.07.2020) |  | O/O-RSD Later on GT problem from(27.08)
13 | YTPS: U1 | 12:18 (10.09.2020) |  | O/O- RSD
14 | UPCL :U1 | 11:59 (12.09.2020) |  | O/O -RSD
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV B.Bageadi-G M Navar#2 | 17:05 (04.03.2020) |  | Tripped
2 | 400kV Hoody-Nelamangala/YLK | 18:18 (05.03.2020) |  | O/O on L/C | 3 Months
3 | 400kV Hoody-Nelamangala/YLK | 18:45 (05.03.2020) |  | O/O on L/C | 3 Months
4 | 220kV Kudugi-G M Navar#4 | 21:06 (28.08.2020) |  | Tripped
5 | 400kV BTPS-Hiriyur#2 | 22:30 (14.09.2020) |  | O/O on O/V
6 | 400kv UPCL-Hassan # 1 | 22:12 (24.09.2020) | 10:08 (26.09.2020) | o/o on OV
7 | 220kV GBNur-Hiriyur 2 | 15:50 (25.09.2020) | 10:19 (26.09.2020) | Tripped
8 | 220kV Hubli-NPH#1 | 00:34 (26.09.2020) | 07:02 (26.09.2020) | O/O on O/V
9 | 400kV RTPS-Mehaboobnagar | 01:06 (26.09.2020) | 11:06 (26.09.2020) | Tripped
10 | 220kV Lingapur-Sindaoor | 02:35 (26.09.2020) | 05:10 (26.09.2020) | Tripped
11 | 400kV GTR-Kaiga#2 | 02:53 (26.09.2020) | 09:31 (26.09.2020) | O/O on O/V
12 | 220kV Athani-M L Pur | 04:31 (26.09.2020) | 07:12 (26.09.2020) | Tripped
13 | 220kV Peenya-NRS | 05:00 (26.09.2020) | 06:05 (26.09.2020) | Tripped
14 | 220kV Peenya-NLM#3 | 05:00 (26.09.2020) | 06:15 (26.09.2020) | Tripped
15 | 220kV SGS-SMG#3 | 07:48 (26.09.2020) |  | O/O on L/C | 2 DAYS
16 | 220kV SGS-SMG#4 | 07:48 (26.09.2020) |  | O/O on L/C | 2 DAYS
17 | 220kV Alipura-BTPS | 16:24 (26.09.2020) | 16:30 (26.09.2020) | Tripped
18 | 400kV TGP-NLM | 16:54 (26.09.2020) |  | O/O on P/R
19 | 220kV GBNur-Hiriyur 2 | 23:12 (26.09.2020) |  | O/O on O/V
20 | 400kV UPCL-Hassan#2 | 23:38 (26.09.2020) |  | O/O on O/V
21 | 400kV BPS-Jagalur#2 | 23:54 (26.09.2020) |  | O/O on O/V