## M.I Gen & lines-27-01-2021
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2021-01-27
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U8 | 07:56 (28.04.2020) |  | O/O - Generator Protection Operated
2 | RTPS: U3 | 22:34 (26.06.2020) |  | O/O-RSD Later on Tripped On unit auxillary transformer(10.11.2020)
3 | YTPS: U2 | 02:08 (05.12.2020) |  | O/O G T FAULT
4 | UPCL: U1 | 00:55 (02.01.2021) |  | O/O VIBRATION IN TURBINE
5 | BTPS: U1 | 11:06 (05.01.2021) |  | O/O EARTH FAULT
6 | RTPS: U5 | 12:37 (12.01.2021) |  | O/O RSD
7 | RTPS: U4 | 00:30 (28.01.2021) |  | O/O ID FAN PROBLEM
8 | RTPS: U7 | 13:54 (27.01.2021) | 22:44 (27.01.2021) | O/O CLASS AB PROTECTION OPERATED
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV Kudugi-G M Navar#4 | 21:06 (28.08.2020) |  | Tripped
2 | 220KV-JURALA - RAICHUR_KA-1 | 06:00 (20.01.2021) |  | O/O on L/C
3 | 220KV-JURALA - RAICHUR_KA-2 | 06:00 (20.01.2021) |  | O/O on L/C
4 | 220kV Shimogga-Sharavathi #2 line | 00:30 (25.01.2021) |  | Tripped
5 | 400kV UPCL-Hassan#1 | 00:17 (27.01.2021) | 01:32 (27.01.2021) | O/O on O/V
6 | 220kV Lingapur-JSWEL#2 | 09:04 (27.01.2021) | 19:25 (27.01.2021) | O/O on L/C
7 | 220kV Kadkola-Bastipura#1 | 09:41 (27.01.2021) | 12:19 (27.01.2021) | O/O on L/C
8 | 220kV VPH-Kemar#2 | 10:45 (27.01.2021) | 19:19 (27.01.2021) | O/O on L/C
9 | 220kV Shimogga-Sharavathi #3 line | 17:20 (27.01.2021) |  | Tripped
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29