## M.I Gen & lines-27-02-2021
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2021-02-27
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U8 | 07:56 (28.04.2020) |  | O/O - Generator Protection Operated
2 | YTPS: U2 | 02:08 (05.12.2020) |  | O/O G T FAULT
3 | BTPS: U1 | 11:06 (05.01.2021) |  | O/O EARTH FAULT
4 | UPCL: U1 | 21:38 (18.02.2021) |  | O/O RSD
5 | RTPS: U5 | 19:48 (24.02.2021) |  | O/O BOILER TUBE LEAKAGE
6 | YPTS:U1 | 05:23 (21.02.2021) |  | O/O BOILER TUBE LEAKAGE
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV Kudugi-G M Navar#4 | 21:06 (28.08.2020) |  | Tripped
2 | 400KV-Kolar-S'hally | 16:15 (10.02.2021) |  | O/O on L/C
3 | 220kV M L Pura-Vajramatti#1 | 15:17 (23.02.2021) |  | Tripped
4 | 220kV M L Pura-Vajramatti#2 | 00:30 (24.02.2021) |  | O/O on L/C
5 | 220kV Ambewadi-Xeldom | 22:49 (25.02.2021) |  | Tripped
6 | 220kV Honnali-Shimoga line | 10:22 (26.02.2021) |  | Tripped
7 | 220kV VPH-Kemar #3 line | 10:28 (26.02.2021) |  | O/O on L/C
8 | 40kV Nelamangala-Talaguppa line | 18:05 (26.02.2021) | 15:39 (27.02.2021) | Tripped
9 | 220kV SMG-VPH#3 | 04:22 (27.02.2021) | 07:53 (27.02.2021) | Tripped
10 | 220kV Ambewadi-NRN#1&#2 | 08:35 (27.02.2021) | 18:34 (27.02.2021) | O/O on L/C
11 | 220kV SMG-Arasikere | 10:30 (27.02.2021) | 15:08 (27.02.2021) | O/O on L/C
12 | 220kV Bijapur-Gmnavar#1 | 11:15 (27.02.2021) | 12:20 (27.02.2021) | O/O on L/C
13 | 400kV NLM-HSN | 12:42 (27.02.2021) | 14:51 (27.02.2021) | O/O on L/C
14 | 220kV Hubli-Sirsi#2 | 13:29 (27.02.2021) | 16:53 (27.02.2021) | Tripped
15 | 220kV Haveri-NAR | 14:32 (27.02.2021) | 18:38 (27.02.2021) | Tripped
16
17
18
19
20
21
22