## M.I Gen & lines-27-03-2021
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2021-03-27
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U8 | 07:56 (28.04.2020) |  | O/O - Generator Protection Operated
2 | YTPS: U2 | 02:08 (05.12.2020) |  | O/O G T FAULT
3 | BTPS: U1 | 11:06 (05.01.2021) |  | O/O EARTH FAULT
4 | UPCL: U2 | 09:05 (12.03.2021) |  | O/O GAS LEAKAGE
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV Kudugi-G M Navar#4 | 21:06 (28.08.2020) |  | Tripped
2 | 400KV-Kolar-S'hally | 16:15 (10.02.2021) |  | O/O on L/C
3 | 400kV NLM-Hassan | 16:26 (05.03.2021) |  | Tripped
4 | 400KV/220KV BTPS-ICT - 1 | 06:19 (16.03.2021) |  | Tripped
5 | 400KV/220KV BTPS-ICT - 2 | 12:25 (27.03.2021) |  | Tripped
6 | 220kV Hootgalli-Kadakola | 07:20 (25.03.2021) |  | o/o on LC
7 | 220kV Kadakola-K'pet | 06:29 (27.03.2021) | 19:04 (27.03.2021) | o/o on LC
8 | 220kV Haveri-Bidnal | 10:56 (27.03.2021) |  | O/o on LC for 2 days
9 | 220kV Haveri-Narendra | 11:08 (27.03.2021) |  | O/o on LC for 2 days
10 | 220kV Hoody-Malur | 11:17 (27.03.2021) | 13:15 (27.03.2021) | Tripped
11 | 220kV Hoody-Somanahally | 11:17 (27.03.2021) | 13:52 (27.03.2021) | Tripped
12 | 400kV Guttur-Hiriyur Line 2 | 12:33 (27.03.2021) |  | Tripped
13 | 220kV C'durga-Guttur | 12:50 (27.03.2021) | 17:02 (27.03.2021) | Tripped
14 | 220kV Ambewadi-Narendra 1&2 lines | 07:58 (27.03.2021) | 15:24 (27.03.2021) | o/o on LC
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29