## M.I Gen & lines-27-04-2021
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2021-04-27
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | YTPS: U2 | 02:08 (05.12.2020) |  | O/O G T FAULT
2 | BTPS: U1 | 11:06 (05.01.2021) |  | O/O EARTH FAULT
4 | UPCL: U1 | 20:42 (23.04.2021) |  | O/O RSD
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV Kudugi-G M Navar#4 | 21:06 (28.08.2020) |  | Tripped | WORK UNDER PROGRESS( RELAY REPLACEMENT)
2 | 400kV NLM-Hassan | 16:26 (05.03.2021) |  | Tripped | LOC- 795 ( INSULATOR FLASH OVER) WORK UNDER PROGRESS
3 | 220kV Belgaum-Chikkodi#2 | 12:55 (21.04.2021) |  | O/O on L/C(15 DAYS) | R & U WORKS
4 | 220kV Ambewadi-NPH#2 | 16:25 (21.04.2021) |  | O/O on L/C(15 DAYS)
5 | 220kV TKHally-Kanakapura | 09:15 (23.04.2021) |  | O/o on LC for 10 days
6 | 220kV Hubli-Nagazari -3 | 13:47 (27.04.2021) | 14:07 (27.04.2021) | Tripped
7 | 220kV Kemar-Nettamandur | 10:09 (27.04.2021) |  | Tripped
8 | 220kV L;sugua-B'bagewadi- 1 & 2 | 14:45 (27.04.2021) | 16:38 (27.04.2021) | o/o on LC for
9 | 220kV VPH-Kemar - 1 | 15:54 (27.04.2021) | 17:01 (27.04.2021) | Tripped
10 | 400kV Tal-Hassan | 16:16 (27.04.2021) | 21:38 (27.04.2021) | Tripped
11 | 220kV HBL-Sirsi - 1 | 18:56 (27.04.2021) |  | Tripped
12 | 220kV Savadatti-Mahalingapura | 21:08 (27.04.2021) |  | Tripped
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29