## M.I Gen & lines-27-07-2020
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON 27-07-2020
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | BTPS: U3 | 13:15 (06.04.2020) |  | O/O - RSD
2 | RTPS: U8 | 07:56 (28.04.2020) |  | O/O - Generator Protection Operated
3 | YTPS: U1 | 12:08 (03.06.2020) |  | O/O - RSD
4 | RTPS: U7 | 07:34 (02.06.2020) |  | O/O - RSD
5 | BTPS: U1 | 13:45 (02.06.2020) |  | O/O - RSD
6 | BTPS: U2 | 16:31 (02.06.20200 |  | O/O - RSD
7 | RTPS: U4 | 06:46 (11.06.2020) |  | O/O - STEAM TURBINE LEAKAGE
8 | RTPS: U2 | 11:39 (19.05.2020) |  | O/O - RSD
9 | RTPS: U5 | 16:34 (10.06.2020) |  | O/O-RSD
10 | RTPS: U3 | 22:34 (26.06.2020) |  | O/O-Boiler tube leakage
11 | RTPS: U1 | 11:50 (02.07.2020) |  | O/O-RSD
12 | RTPS: U6 | 10:24 (06.07.2020) |  | O/O-RSD
13 | UPCL: U2 | 12:22 (12.07.2020) |  | O/O-RSD
14 | YTPS: U2 | 11:56 (18.07.2020) |  | O/O-RSD
15 | UPCL: U1 | 09:52 (26.07.2020) | 13:02 (27.07.2020) | O/O-RSD
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV B.Bageadi-G M Navar#2 | 17:05 (04.03.2020) |  | Tripped
2 | 400kV Hoody-Nelamangala/YLK | 18:18 (05.03.2020) |  | O/O on L/C | 3 Months
3 | 400kV Hoody-Nelamangala/YLK | 18:45 (05.03.2020) |  | O/O on L/C | 3 Months
4 | 220kV Shahpur-Gulbarga | 17:15 (17.04.2020) |  | Tripped
5 | 220kV Kudugi-G M Navar#3 | 07:04 (19.04.2020) |  | Tripped
6 | 400kV BPS-Jagalur# 2 | 10:21 (10.07.2020) |  | O/O on O/V
7 | 220kV Belgaum-Chikkodi | 23:27 (22.07.2020) |  | Tripped
8 | 400kV Guutur-Narendra #2 | 00:15 (25.07.2020) |  | O/O on O/V
9 | 400kV NLMG-TLGP | 00:31 (25.07.2020) | 09:14 (27.07.2020) | O/O on O/V
10 | 400kV UPCL-HSN | 00:03 (26.07.2020) | 06:45 (27.07.2020) | O/O on O/V
11 | 220kV RNR-Shiralkoppa | 06:18 (27.07.2020) | 11:20 (27.07.2020) | Tripped
12 | 220kV VPH-SMG#2 | 09:36 (27.07.2020) | 12:01 (27.07.2020) | O/O on L/C
13 | 220kV BGM-Chikkodi#1 | 10:46 (27.07.2020) | 12:42 (27.07.2020) | O/O on L/C
14 | 220kV Kadur-Dabaspet | 11:05 (27.07.2020) | 14:40 (27.07.2020) | O/O on L/C
15 | 220kV GTR-Haveri#2 | 11:43 (27.07.2020) |  | O/O on L/C
16 | 220kV Hoody-Malur | 12:45 (27.07.2020) | 14:54 (27.07.2020) | Tripped
17 | 220kV A'halli-V'Pura | 13:59 (27.07.2020) | 17:58 (27.07.2020) | Tripped
18 | 220kV S'hally-Y'hally | 15:47 (27.07.2020) | 21:00 (27.07.2020) | Tripped
19 | 220kV Mallat-RTPS | 20:14 (27.07.2020) |  | Tripped