## M.I Gen & lines-28-01-2021
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2021-01-28
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U8 | 07:56 (28.04.2020) |  | O/O - Generator Protection Operated
2 | RTPS: U3 | 22:34 (26.06.2020) |  | O/O-RSD Later on Tripped On unit auxillary transformer(10.11.2020)
3 | YTPS: U2 | 02:08 (05.12.2020) |  | O/O G T FAULT
4 | UPCL: U1 | 00:55 (02.01.2021) |  | O/O VIBRATION IN TURBINE
5 | BTPS: U1 | 11:06 (05.01.2021) |  | O/O EARTH FAULT
6 | RTPS: U5 | 12:37 (12.01.2021) |  | O/O RSD
7 | RTPS: U4 | 00:30 (28.01.2021) | 10:21 (28.01.2021) | O/O ID FAN PROBLEM
8 | RTPS: U7 | 13:01 (27.01.2021) | 01:46 (28.01.2021) | O/O AB PROTECTION OPERATED
9 | RTPS: U1 | 12:32 (28.01.2021) |  | Tripped
10 | YTPS: U1 | 11:45 (28.01.2021) | 14:53 (28.01.2021) | O/O TRIP ON FLAME FAILURE
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV Kudugi-G M Navar#4 | 21:06 (28.08.2020) |  | Tripped
2 | 220KV-JURALA - RAICHUR_KA-1 | 06:00 (20.01.2021) |  | O/O on L/C
3 | 220KV-JURALA - RAICHUR_KA-2 | 06:00 (20.01.2021) |  | O/O on L/C
4 | 220kV Shimogga-Sharavathi #2 line | 00:30 (25.01.2021) |  | Tripped
5 | 220kV Shimogga-Sharavathi #3 line | 17:20 (27.01.2021) |  | Tripped
6 | 400kV UPCL -Hassan #1 line | 02:01 (28.01.2021) |  | O/O on O/V
7 | 220kV RTPS-Lingapura line | 13:30 (28.01.2021) | 15:15 (28.01.2021) | O/O on L/C
8 | 220kV Kemar-Puttur #1 line | 10:44 (28.01.2021) | 14:40 (28.01.2021) | O/O on L/C
9 | 220kV Peenya-S'Pura line | 11:35 (28.01.2021) | 14:48 (28.01.2021) | O/O on L/C
10 | 220kV Lingapura- JSW#2 line | 09:51 (28.01.2021) | 20:54 (28.01.2021) | O/O on L/C
11 | 220kV Lingasugur-Kushtagi #2 line | 10:07 (28.01.2021) | 19:02 (28.01.2021) | O/O on L/C
12 | 22kV Shivanasamudra-T K Hally line | 09:58 (28.01.2021) | 14:40 (28.01.2021) | O/O on L/C
13 | 400kV Nelamangala-GTY line | 10:21 (28.01.2021) | 12:36 (28.01.2021) | O/O on L/C
14 | 220kV Kadakola-Kanyampet line | 09:53 (28.01.2021) | 17:15 (28.01.2021) | O/O on L/C
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29