## M.I Gen & lines-28-02-2021
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2021-02-28
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U8 | 07:56 (28.04.2020) |  | O/O - Generator Protection Operated
2 | YTPS: U2 | 02:08 (05.12.2020) |  | O/O G T FAULT
3 | BTPS: U1 | 11:06 (05.01.2021) |  | O/O EARTH FAULT
4 | UPCL: U1 | 21:38 (18.02.2021) |  | O/O RSD
5 | RTPS: U5 | 19:48 (24.02.2021) | 02:31 (01.03.2021) | O/O BOILER TUBE LEAKAGE
6 | YPTS:U1 | 05:23 (21.02.2021) |  | O/O BOILER TUBE LEAKAGE
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV Kudugi-G M Navar#4 | 21:06 (28.08.2020) |  | Tripped
2 | 400KV-Kolar-S'hally | 16:15 (10.02.2021) |  | O/O on L/C
3 | 220kV M L Pura-Vajramatti#1 | 15:17 (23.02.2021) |  | Tripped
4 | 220kV M L Pura-Vajramatti#2 | 00:30 (24.02.2021) |  | O/O on L/C
5 | 220kV Ambewadi-Xeldom | 22:49 (25.02.2021) | 15:37 (28.02.2021) | Tripped
6 | 220kV Honnali-Shimoga line | 10:22 (26.02.2021) | 13:10 (28.02.2021) | Tripped
7 | 220kV VPH-Kemar #3 line | 10:28 (26.02.2021) | 14:31 (28.02.2021) | O/O on L/C
8 | 220kV Ambewadi-NRN#2 | 04:19 (28.02.2021) | 18:25 (28.02.2021) | Tripped
9 | 220kV Ambewadi-NRN#1 | 09:25 (28.02.2021) | 18:25 (28.02.2021) | O/O on L/C
10 | 220kV Doni-Halvarthy | 09:57 (28.02.2021) | 15:00 (28.02.2021) | O/O on L/C
11 | 220kV KushalnagarBastipura#1 | 10:31 (28.02.2021) | 12:58 (28.02.2021) | O/O on L/C
12 | 220kV KushalnagarBastipura#2 | 13:04 (28.02.2021) | 16:10 (28.02.2021) | O/O on L/C
13 | 220kVHiriyur-Madhugiri#2 | 13:20 (28.02.2021) | 15:30 (28.02.2021) | Tripped
14 | 220kV EPIP-HSR | 17:34 (28.02.2021) | 19:20 (28.02.2021) | Tripped
15 | 220kV NLM-Peenya#2 | 15:20 (28.02.2021) | 19:04 (28.02.2021) | Tripped
16 | 220kV Ambewadi-NRN#1 | 18:57 (28.02.2021) |  | Tripped
17 | 220kV Bidnal-Savadatti | 21:23 (28.02.2021) | 21:56 (28.02.2021) | Tripped
18
19
20
21
22