## M.I Gen & lines-28-04-2021
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2021-04-28
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | YTPS: U2 | 02:08 (05.12.2020) |  | O/O G T FAULT
2 | BTPS: U1 | 11:06 (05.01.2021) |  | O/O EARTH FAULT
3 | UPCL: U1 | 20:42 (23.04.2021) |  | O/O RSD
4 | RTPS: U5 | 04:07 (29.04.2021) | 07:38 (29.04.2021) | O/O CLASS AB PROTECTION OPERATED
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV Kudugi-G M Navar#4 | 21:06 (28.08.2020) |  | Tripped | WORK UNDER PROGRESS( RELAY REPLACEMENT)
2 | 400kV NLM-Hassan | 16:26 (05.03.2021) |  | Tripped | LOC- 795 ( INSULATOR FLASH OVER) WORK UNDER PROGRESS
3 | 220kV Belgaum-Chikkodi#2 | 12:55 (21.04.2021) |  | O/O on L/C(15 DAYS) | R & U WORKS
4 | 220kV Ambewadi-NPH#2 | 16:25 (21.04.2021) |  | O/O on L/C(15 DAYS)
5 | 220kV TKHally-Kanakapura | 09:15 (23.04.2021) |  | O/o on LC for 10 days
6 | 220kV HBL-Sirsi - 1 | 18:56 (27.04.2021) | 16:22 (28.04.2021) | Tripped
7 | 220kV Savadatti-Mahalingapura | 21:08 (27.04.2021) | 13:06 (27.04.2021) | Tripped
8 | 400KV/220KV GUTTUR-ICT - 1 | 11:20 (28.04.2021) | 15:51 (28.04.2021) | O/O on L/C
9 | 220kV NRN-Belgaum#2 | 01:16 (28.04.2021) | 01:52 (28.04.2021) | Tripped
10 | 220kV NRN-Hbli#2 | 09:58 (28.04.2021) | 17:28 (28.04.2021) | Tripped
11 | 220kV NRN-Hbli#1 | 10:02 (28.04.2021) | 17:05 (28.04.2021) | Tripped
12 | 220kV NRN-Ghataprabha#2 | 10:48 (28.04.2021) | 11:15 (28.04.2021) | Tripped
13 | 220kV NRN-Bidnal | 11:19 (28.04.2021) | 17:41 (28.04.2021) | Tripped
14 | 220kV HYR-G B Noor#1 | 12:42 (28.04.2021) | 18:45 (28.04.2021) | Tripped
15 | 220kV Savadatti-Mahalingapura | 13:41 (28.04.2021) | 18:25 (28.04.2021) | Tripped
16
17
18
19
20
21
22
23
24
25
26
27
28
29