## M.I Gen & lines-28-11-2020
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2020-11-28
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U8 | 07:56 (28.04.2020) |  | O/O - Generator Protection Operated
2 | RTPS: U7 | 07:34 (02.06.2020) |  | O/O - RSD
3 | RTPS: U2 | 11:39 (19.05.2020) |  | O/O - RSD
4 | RTPS: U3 | 22:34 (26.06.2020) |  | O/O-RSD Later on Tripped On unit auxillary transformer(10.11.2020)
6 | RTPS: U6 | 10:24 (06.07.2020) |  | O/O-RSD later on AOH from( 02.11.2020)
7 | YTPS: U2 | 11:56 (18.07.2020) | 07:21 (29.11.2020) | O/O-RSD Later on GT problem from(27.08.2020)
8 | BTPS: U3 | 13:15 ( 12.10.2020) |  | O/O- RSD
9 | UPCL: U1 | 20:55 ( 07.11.2020) |  | O/O- RSD
10 | UPCL: U2 | 00:09 (08.11.2020) |  | O/O- RSD
11 | RTPS: U5 | 12:51 (24.11.2020) |  | O/O ECOMISER LEAKAGE
12 | RTPS: U1 | 10:48 (14.11.2020) |  | O/O - RSD
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 400kV Hoody-Nelamangala/YLK | 18:18 (05.03.2020) |  | O/O on L/C
2 | 400kV Hoody-Nelamangala/YLK | 18:45 (05.03.2020) |  | O/O on L/C
3 | 220kV Kudugi-G M Navar#4 | 21:06 (28.08.2020) |  | Tripped(Faulty)
4 | 400kV Kaiga-Guttur #2 | 19:08 (29.10.2020) |  | Tripped
5 | 400kV UPCL-Hasaan#1 | 17:39 (14.11.2020) |  | O/O on O/V
6 | 400kV JSWEL-BPS-2 | 06:27 (27.11.2020) |  | O/O ON EMERGENCY DUE TO SF6 GAS PRESSURE LOW
7 | 220kV Smg-KB Cross | 01:06 (28.11.2020) | 11:19 (28.11.2020) | Tripped
8 | 400kV Guttur-JSWEL | 06:21 (28.11.2020) | 15:46 (28.11.2020) | Tripped
9 | 400kV Guttur-Narendra 2 | 09:36 (28.11.2020) |  | O/o on LC
10 | 220kV CR Nagar-M.halli 1 & 2 | 10:12 (28.11.2020) | 18:11 (28.11.2020) | O/o on LC
11 | 220kV CR Nagar-Begur 1 & 2 | 10:16 (28.11.2020) | 18:15 (28.11.2020) | O/o on LC
12 | 220kV SGS-Smg 4 | 12:17 (28.11.2020) | 13:12 (28.11.2020) | O/o on LC
13 | 220kV Talaguppa-STRP | 13:09 (28.11.2020) |  | Tripped
14 | 220kV ADPH-B'kote 1 | 14:41 (28.11.2020) | 18:45 (28.11.2020) | O/o on E/LC
16 | 220kV ADPH-B'kote 2 | 14:41 (28.11.2020) | 18:46 (28.11.2020) | O/o on E/LC
17
18
20
21
22
23
24
25
26
27
28
29
30
31