## M.I Gen & lines-29-01-2021
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2021-01-28
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U8 | 07:56 (28.04.2020) |  | O/O - Generator Protection Operated
2 | RTPS: U3 | 22:34 (26.06.2020) |  | O/O-RSD Later on Tripped On unit auxillary transformer(10.11.2020)
3 | YTPS: U2 | 02:08 (05.12.2020) |  | O/O G T FAULT
4 | UPCL: U1 | 00:55 (02.01.2021) |  | O/O VIBRATION IN TURBINE
5 | BTPS: U1 | 11:06 (05.01.2021) |  | O/O EARTH FAULT
6 | RTPS: U5 | 12:37 (12.01.2021) |  | O/O RSD
7 | RTPS: U1 | 12:32 (28.01.2021) | 09:09 (29.01.2021) | Tripped
8 | RTPS: U6 | 11:19 (29.01.2021) | 18:29 (29.01.2021) | O/O AIR LINE LEAKAGE
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV Kudugi-G M Navar#4 | 21:06 (28.08.2020) |  | Tripped
2 | 220KV-JURALA - RAICHUR_KA-1 | 06:00 (20.01.2021) |  | O/O on L/C
3 | 220KV-JURALA - RAICHUR_KA-2 | 06:00 (20.01.2021) |  | O/O on L/C
4 | 220kV Shimogga-Sharavathi #2 line | 00:30 (25.01.2021) | 18:10 (29.01.2021) | Tripped
5 | 220kV Shimogga-Sharavathi #3 line | 17:20 (27.01.2021) | 11:34 (29.01.2021) | Tripped
6 | 400kV UPCL -Hassan #1 line | 02:01 (28.01.2021) | 07:30 (29.01.2021) | O/O on O/V
7 | 400KV/220KV TALGUPPA-ICT - 1 | 10:07 (29.01.2021) | 17:05 (29.01.2021) | O/O on L/C
8 | 400kV NLM-GTY | 07:44 (29.01.2021) | 19:07 (29.01.2021) | O/O on L/C
9 | 220kV JSWEL-Lingapur#1 | 08:47 (29.01.2021) | 13:54 (29.01.2021) | O/O on L/C
10 | 400kV RTPS-MBD | 09:02 (29.01.2021) | 15:08 (29.01.2021) | O/O on L/C
11 | 220kV NRN-BGM#2 | 10:18 (29.01.2021) | 17:13 (29.01.2021) | O/O on L/C
12 | 220kV Lingapur-Kushtagi | 10:49 (29.01.2021) | 13:36 (29.01.2021) | O/O on L/C
13 | 220kV SG-SMG | 19:09 (29.01.2021) |  | O/O on L/C
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29