## M.I Gen & lines-29-07-2020
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON 29-07-2020
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | BTPS: U3 | 13:15 (06.04.2020) |  | O/O - RSD
2 | RTPS: U8 | 07:56 (28.04.2020) |  | O/O - Generator Protection Operated
3 | YTPS: U1 | 12:08 (03.06.2020) |  | O/O - RSD
4 | RTPS: U7 | 07:34 (02.06.2020) |  | O/O - RSD
5 | BTPS: U1 | 13:45 (02.06.2020) |  | O/O - RSD
6 | BTPS: U2 | 16:31 (02.06.20200 |  | O/O - RSD
7 | RTPS: U4 | 06:46 (11.06.2020) |  | O/O - STEAM TURBINE LEAKAGE
8 | RTPS: U2 | 11:39 (19.05.2020) |  | O/O - RSD
9 | RTPS: U5 | 16:34 (10.06.2020) |  | O/O-RSD
10 | RTPS: U3 | 22:34 (26.06.2020) |  | O/O-Boiler tube leakage
11 | RTPS: U1 | 11:50 (02.07.2020) |  | O/O-RSD
12 | RTPS: U6 | 10:24 (06.07.2020) |  | O/O-RSD
13 | UPCL: U2 | 12:22 (12.07.2020) |  | O/O-RSD
14 | YTPS: U2 | 11:56 (18.07.2020) |  | O/O-RSD
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV B.Bageadi-G M Navar#2 | 17:05 (04.03.2020) |  | Tripped
2 | 400kV Hoody-Nelamangala/YLK | 18:18 (05.03.2020) |  | O/O on L/C | 3 Months
3 | 400kV Hoody-Nelamangala/YLK | 18:45 (05.03.2020) |  | O/O on L/C | 3 Months
4 | 220kV Shahpur-Gulbarga | 17:15 (17.04.2020) |  | Tripped
5 | 220kV Kudugi-G M Navar#3 | 07:04 (19.04.2020) |  | Tripped
6 | 220kV Belgaum-Chikkodi | 23:27 (22.07.2020) |  | Tripped
7 | 400kV Guutur-Narendra #2 | 00:15 (25.07.2020) |  | O/O on O/V
8 | 220kV Mallat-RTPS | 20:14 (27.07.2020) | 13:15 (29.07.2020) | Tripped
9 | 400kV Kaiga-GTR#2 | 23:14 (29.07.2020) |  | O/O on O/V
10 | 400kV NLM-TGP | 00:44 (29.07.2020) | 07:03 (29.07.2020) | O/O on O/V
11 | 400kV Kaiga-GTR#2 | 01:04 (29.07.2020) | 07:50 (29.07.2020) | O/O on O/V
12 | 400kV RTPS-Guddadahalli | 01:14 (29.07.2020) | 11:10 (29.07.2020) | O/O on O/V
13 | 220kV Lingasugur-Sindanoor | 01:45 (29.07.2020) | 02:44 (29.07.2020) | Tripped
14 | 220kV Sedam-Humnabad | 02:10 (29.07.2020) | 07:14 (29.07.2020) | O/O on O/V
14 | 400kV BTPS-Hiriyur#2 | 02:49 (29.07.2020) | 10:07 (29.07.2020) | O/O on O/V
14 | 220kV VPH-SMG#1 | 09:09 (29.07.2020) | 13:06 (29.07.2020) | O/Oon L/C
15 | 220kV GTR-DVG#2 | 10:22 (29.07.2020) | 15:10 (29.07.2020) | Tripped
16 | 220kV BTPS-Alipura | 12:16 (29.07.2020) | 13:01 (29.07.2020) | O/Oon L/C
17 | 220kV Ambewadi-NPH#1 | 14:45 (29.07.2020) | 14:58 (29.07.2020) | Tripped
18 | 400kV UPCL-Hassan#2 | 22:24 (29.07.2020) | 08:01 (30.07.2020) | O/O on O/V