## M.I Gen & lines-29-08-2020
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2020-08-29
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | BTPS: U3 | 13:15 (06.04.2020) |  | O/O - RSD
2 | RTPS: U8 | 07:56 (28.04.2020) |  | O/O - Generator Protection Operated
3 | RTPS: U7 | 07:34 (02.06.2020) |  | O/O - RSD
4 | BTPS: U1 | 13:45 (02.06.2020) |  | O/O - RSD
5 | BTPS: U2 | 16:31 (02.06.2020) |  | O/O - RSD
6 | RTPS: U4 | 06:46 (11.06.2020) |  | O/O - RSD
7 | RTPS: U2 | 11:39 (19.05.2020) |  | O/O - RSD
8 | RTPS: U5 | 16:34 (10.06.2020) |  | O/O-RSD
9 | RTPS: U3 | 22:34 (26.06.2020) |  | O/O-RSD
10 | RTPS: U1 | 11:50 (02.07.2020) |  | O/O-RSD
11 | RTPS: U6 | 10:24 (06.07.2020) |  | O/O-RSD
12 | YTPS: U2 | 11:56 (18.07.2020) |  | O/O-RSD, Later on Gt problem from 26.08.2020
14 | UPCL: U2 | 01:10 (04.08.2020) |  | O/O-RSD
15 | UPCL: U1 | 11:59 (03.08.2020) |  | O/O-RSD
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV B.Bageadi-G M Navar#2 | 17:05 (04.03.2020) |  | Tripped
2 | 400kV Hoody-Nelamangala/YLK | 18:18 (05.03.2020) |  | O/O on L/C | 3 Months
3 | 400kV Hoody-Nelamangala/YLK | 18:45 (05.03.2020) |  | O/O on L/C | 3 Months
4 | 220kV Shahpur-Gulbarga | 07:15 (17.04.2020) |  | Tripped
5 | 220kV Kudugi-G M Navar#3 | 07:04 (19.04.2020) | 17:12 (29.08.2020) | Tripped
6 | 400kV Guutur-Narendra #2 | 00:15 (25.07.2020) |  | O/O on O/V
7 | 400kV BPS-Jagalur#1 | 00:50 (18.08.2020) |  | O/O on O/V
8 | 220kV Chitradurga-Thalak | 06:58 (28.08.2020) | 19:03 (29.08.2020) | O/O on L/C
9 | 400kV NLM-TGP | 16:23 (28.08.2020) | 09:28 (29.08.2020) | O/O on P/R
10 | 220kV Kudugi-G M Navar#4 | 21:06 (28.08.2020) |  | Tripped
11 | 220kV B.Bageadi-G M Navar#1 | 21:06 (28.08.2020) |  | Tripped
12 | 400kV UPCL-Hassan #1 | 00:52 (29.08.2020) | 09:58 (29.08.2020) | O/O on O/V
13 | 220kV Guttur-Chitradurga | 06:00 (29.08.2020) | 19:46 (29.08.2020) | O/O on L/C
14 | 500MVA ICT #1 at Hoody | 10:20 (29.08.2020) | 18:50 (29.08.2020) | O/O on L/C
15 | 220kV Dhoni-Halavarthy #1 | 11:00 (29.08.2020) | 12:18 (29.08.2020) | O/O on L/C
16 | 315 MVA ICT #1 at Guttur | 11:33 (29.08.2020) | 16:54 (29.08.2020) | O/O on L/C
17 | 220kV Ranebennur-Guttur | 12:25 (29.08.2020) | 13:15 (29.08.2020) | O/O on PR