## M.I Gen & lines-29-09-2020
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2020-09-29
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | BTPS: U3 | 13:15 (06.04.2020) |  | O/O - RSD
2 | RTPS: U8 | 07:56 (28.04.2020) |  | O/O - Generator Protection Operated
3 | RTPS: U7 | 07:34 (02.06.2020) |  | O/O - RSD
4 | BTPS: U1 | 13:45 (02.06.2020) |  | O/O - RSD
5 | BTPS: U2 | 16:31 (02.06.2020) |  | O/O - RSD
6 | RTPS: U4 | 06:46 (11.06.2020) |  | O/O - RSD
7 | RTPS: U2 | 11:39 (19.05.2020) |  | O/O - RSD
8 | RTPS: U5 | 16:34 (10.06.2020) |  | O/O-RSD
9 | RTPS: U3 | 22:34 (26.06.2020) |  | O/O-RSD
10 | RTPS: U1 | 11:50 (02.07.2020) |  | O/O-RSD
11 | RTPS: U6 | 10:24 (06.07.2020) |  | O/O-RSD
12 | YTPS: U2 | 11:56 (18.07.2020) |  | O/O-RSD Later on GT problem from(27.08.2020)
13 | YTPS: U1 | 12:18 (10.09.2020) |  | O/O - RSD LATER ON AOH FROM (30.09.2020)
14 | UPCL :U1 | 11:59 (12.09.2020) |  | O/O -RSD
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV B.Bageadi-G M Navar#2 | 17:05 (04.03.2020) |  | Tripped
2 | 400kV Hoody-Nelamangala/YLK | 18:18 (05.03.2020) |  | O/O on L/C | 3 Months
3 | 400kV Hoody-Nelamangala/YLK | 18:45 (05.03.2020) |  | O/O on L/C | 3 Months
4 | 220kV Kudugi-G M Navar#4 | 21:06 (28.08.2020) |  | Tripped
5 | 220kV SGS-SMG#3 | 07:48 (26.09.2020) | 13:15 (29.09.2020) | O/O on L/C
6 | 220kV SGS-SMG#4 | 07:48 (26.09.2020) | 13:15 (29.09.2020) | O/O on L/C
7 | 400kV TGP-NLM | 16:54 (26.09.2020) | 06:23 (29.09.2020) | O/O on P/R
8 | 400kV BPS-Jagalur#2 | 23:54 (26.09.2020) |  | O/O on O/V
9 | 400kV GTR-Kaiga#2 | 00:11 (27.09.2020) |  | O/O on O/V
10 | 220kV M L Pura-Vajramatti#2 | 19:50 (28.09.2020) | 12:30 (29.09.2020) | Tripped
11 | 220kV Haver-GTR#2 | 14:34 (28.09.2020) | 15:05 (29.09.2020) | Tripped
12 | 20KV-KAIGA - KADRA-1 | 12:41 (29.09.2020) | 15:43 (29.09.2020) | Tripped
13 | 400KV-NELAMANGALA- HIRIYUR-2 | 02:11 (29.09.2020) | 06:53 (29.09.2020) | O/O on O/V
14 | 220kV Raichur-RTPS#1 | 02:40 (29.09.2020) | 03:06 (29.09.2020) | Tripped
15 | 220kV Raichur-RTPS#2 | 02:40 (29.09.2020) | 03:08 (29.09.2020) | Tripped
16 | 220kV Lingapur-Munirabad | 09:14 (29.09.2020) | 15:26 (29.09.2020) | O/O on L/C
17 | 220kV Haveri-GTR#1 | 10:14 (29.09.2020) | 17:05 (29.09.2020) | O/O on L/C
18 | 220kV M K Hubli-Narendra#1 | 11:44 (29.09.2020) | 13:10 (29.09.2020) | O/O on L/C