## M.I Gen & lines-30-04-2021
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2021-04-30
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | YTPS: U2 | 02:08 (05.12.2020) |  | O/O G T FAULT
2 | BTPS: U1 | 11:06 (05.01.2021) |  | O/O EARTH FAULT
3 | UPCL: U1 | 20:42 (23.04.2021) |  | O/O RSD
4 | UPCL: U2 | 03:13 (01.05.2021) |  | O/O HEAVY STEAM LEAKAGE
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV Kudugi-G M Navar#4 | 21:06 (28.08.2020) |  | Tripped | WORK UNDER PROGRESS( RELAY REPLACEMENT)
2 | 400kV NLM-Hassan | 16:26 (05.03.2021) |  | Tripped | LOC- 795 ( INSULATOR FLASH OVER) WORK UNDER PROGRESS
3 | 220kV Belgaum-Chikkodi#2 | 12:55 (21.04.2021) |  | O/O on L/C(15 DAYS) | R & U WORKS
4 | 220kV Ambewadi-NPH#2 | 16:25 (21.04.2021) |  | O/O on L/C(15 DAYS)
5 | 220kV TKHally-Kanakapura | 09:15 (23.04.2021) |  | O/o on LC for 10 days
6 | 400kV BTPS-Guttur | 15:21 (29.04.2021) |  | Tripped
7 | 220kV RTPS-BTPS | 16:45 (29.04.2021) | 14:14 (30.04.2021) | Tripped
8 | 220kV KB Cross-NEL | 21:41 (29.04.2021) | 09:20 (30.04.2021) | Tripped
9 | 220kV Kadur-Dabaspet | 21:36 (29.04.2021) | 09:09 (30.04.2021) | Tripped
10 | 220kV Lingapr-Jindal#2 | 10:40 (30.04.2021) | 16:01 (30.04.2021) | O/O on L/C
11 | 220kV DVG-Guttur#2 | 12:24 (30.04.2021) | 12:39 (30.04.2021) | Tripped
12 | 220kV NRN-Ghtaprabha#2 | 05:35 (30.04.2021) | 05:48 (30.04.2021) | Tripped
13 | 220kV Savadatti-M L Pura | 15:15 (30.04.2021) | 16:20 (30.04.2021) | O/O on L/C
14 | 220kV Lingapura-JSW#1 | 16:07 (30.04.2021) | 18:29 (30.04.2021) | O/O on L/C
15 | 220kV Sedam-Hmnabad#1 | 17:21 (30.04.2021) | 17:55 (30.04.2021) | Tripped
16
17
18
19
20
21
22
23
24
25
26
27
28
29